## Notes
Notes
Simulation number |  | The sequential simulation identifier of each annual simulation - numbered between 1 and 561. Each simulation is modelled at the hourly resolution level - giving 8,760 hourly simulated outputs.
Unplanned outage set |  | Identifier of the hourly unplanned outage set used in the given simulation - numbered between 1 and 11. A stochastic availability model is used to develop the 11 annual simulations of hourly dispatchable power station availability.
Weather set |  | Identifier of the hourly demand and renewable energy resources trace set used in the given simulation - numbered between 1 and 51. A stochastic demand and renewable energy resource model is used to develop 51 weather influenced annual simulations of hourly demand (system and customer load) and renewable energy resource traces.
Energy and demand (as generated) | Annual regional energy (GWh) | The annual regional scheduled and semi-scheduled energy requirements for the given region and given weather set - taken as the sum of the 8,760 hourly simulated regional loads.
| Annual regional peak demand (MW) | The annual regional scheduled and semi-scheduled maximum demand for the given region and given weather set.
| Annual energy - NSLP (GWh) | The annual energy requirements for the given NSLP and given weather set.
| Annual peak demand - NSLP (MW) | The annual peak demand for the given NSLP and given weather set.
Spot Price (nominal at the regional reference node) | Annual regional time weighted spot price ($/MWh) | The simple average of the hourly simulated spot prices for the given region and simulation number.
| Annual regional load weighted spot price ($/MWh) | The load weighted average of the hourly simulated spot prices for the given region and simulation number - using the corresponding hourly regional loads as the weights.
| Number of hours spot prices above $300 | The number of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Contribution of spot prices above $300 to annual average spot price ($/MWh) | The contribution to the annual time weighted spot price of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Annual load weighted spot price - NSLP ($/MWh) | The load weighted average of the hourly simulated spot prices for the given NSLP and simulation number - using the corresponding hourly NSLP loads as the weights.
Hedged price (nominal at the regional reference node) | Annual hedged price - NSLP ($/MWh) | Sum of the hourly spot purchase costs, contract purchase costs (adopting a fixed quarterly hedging strategy and estimated contract prices), and hedge difference payments, divided by the annual energy to derive a price in $/MWh terms for a given NSLP and simulation number.

## Data
Summary of results for 561 market simulations for 2022-23 - Queensland
Simulation number | Unplanned outage set | Weather set | Energy and demand (as generated) |  |  |  | Spot Price (nominal at the regional reference node) |  |  |  |  | Hedged price (nominal at the regional reference node)
|  |  | Annual regional energy (GWh) | Annual regional peak demand (MW) | Annual energy - Energex NSLP (GWh) | Annual peak demand - Energex NSLP (MW) | Annual regional time weighted spot price ($/MWh) | Annual regional Load weighted spot price ($/MWh) | Number of hours spot prices above $300 | Contribution of spot prices above $300 to annual average spot price ($/MWh) | Annual load weighted spot price - Energex NSLP ($/MWh) | Annual hedged price - Energex NSLP ($/MWh)
1 | 1 | 1 | 48452.6107 | 9309.4859 | 5917.1561 | 1900.3836 | 67.6 | 77.74 | 32 | 4.8633 | 87.62 | 91.18
2 | 1 | 2 | 48203.269 | 9604.2342 | 5879.2401 | 2112.1264 | 69.18 | 82.16 | 32 | 8.1087 | 96.73 | 92.84
3 | 1 | 3 | 48666.8567 | 9786.7239 | 6014.2134 | 2176.7889 | 80.39 | 100.1 | 43 | 17.432 | 125.16 | 90.47
4 | 1 | 4 | 48949.6352 | 9786.7239 | 6041.1143 | 2176.7889 | 78.44 | 95.49 | 43 | 14.8315 | 116.18 | 89.35
5 | 1 | 5 | 48687.2957 | 9604.2342 | 5967.9301 | 2250.4553 | 69.31 | 81.3 | 25 | 6.9886 | 94.41 | 91.8
6 | 1 | 6 | 48704.0554 | 9429.6672 | 6005.0198 | 2310.4403 | 69.44 | 80.59 | 29 | 6.5702 | 91.07 | 88.53
7 | 1 | 7 | 48909.4456 | 9786.7239 | 6050.1751 | 2310.4403 | 74.9 | 88.63 | 39 | 11.0725 | 105.13 | 89.19
8 | 1 | 8 | 48890.7974 | 10119.9906 | 6026.7901 | 2330.3919 | 83.65 | 106.36 | 39 | 19.8929 | 139.27 | 95.96
9 | 1 | 9 | 48551.3478 | 10134.9937 | 5987.9259 | 2438.5515 | 74.95 | 91.14 | 34 | 11.9197 | 113.01 | 94.53
10 | 1 | 10 | 49095.7103 | 10119.9906 | 6123.1407 | 2330.3919 | 80.65 | 99.92 | 36 | 17.363 | 124.2 | 91.11
11 | 1 | 11 | 48490.5488 | 9786.7239 | 5940.7971 | 2310.4403 | 73.92 | 88.14 | 49 | 10.9293 | 104.7 | 89.37
12 | 1 | 12 | 48637.4621 | 9786.7239 | 6030.2381 | 2369.0391 | 76.03 | 92.4 | 44 | 12.6513 | 113.67 | 93.02
13 | 1 | 13 | 48586.7425 | 9667.6522 | 5968.145 | 2213.8246 | 68.58 | 79.89 | 36 | 6.0418 | 91.76 | 91.55
14 | 1 | 14 | 48703.8294 | 9786.7239 | 5977.09 | 2007.6047 | 75.56 | 90.4 | 46 | 12.3223 | 108.99 | 89.25
15 | 1 | 15 | 48864.9736 | 10119.9906 | 6042.6605 | 2330.3919 | 75.21 | 90.62 | 35 | 12.1231 | 109.63 | 91.36
16 | 1 | 16 | 48871.6047 | 10119.9906 | 6089.763 | 2330.3919 | 78.46 | 96.46 | 37 | 14.8044 | 119.62 | 92.58
17 | 1 | 17 | 48898.0365 | 10119.9906 | 6012.7593 | 2330.3919 | 74.98 | 91.26 | 23 | 12.0229 | 112.61 | 93.52
18 | 1 | 18 | 48654.2608 | 9487.3302 | 5968.8069 | 2176.7889 | 66.57 | 76.25 | 26 | 3.9234 | 86.32 | 92.12
19 | 1 | 19 | 48568.9208 | 9604.2342 | 5913.8461 | 1992.1845 | 72.83 | 86.65 | 33 | 10.098 | 101.54 | 88.92
20 | 1 | 20 | 48736.3581 | 9604.2342 | 6008.7456 | 2176.7889 | 78.35 | 96.28 | 43 | 15.0707 | 117.63 | 89.98
21 | 1 | 21 | 48705.4936 | 10091.6493 | 6001.9375 | 2422.9222 | 84.91 | 106.85 | 46 | 20.9713 | 138.61 | 93.28
22 | 1 | 22 | 48711.7799 | 10024.5982 | 5994.5482 | 2165.5707 | 75.57 | 91.87 | 35 | 12.9528 | 112.36 | 91.48
23 | 1 | 23 | 48580.4737 | 9786.7239 | 5966.1537 | 2176.7889 | 71.6 | 85.16 | 27 | 9.1025 | 100.57 | 91.18
24 | 1 | 24 | 48587.1504 | 9514.8145 | 5895.9757 | 2310.4403 | 70.69 | 83.55 | 30 | 8.2821 | 97.86 | 90.71
25 | 1 | 25 | 48554.0526 | 9786.7239 | 5942.3565 | 2310.4403 | 68.57 | 79.55 | 37 | 5.5375 | 90.82 | 91.32
26 | 1 | 26 | 48762.7746 | 10119.9906 | 6020.1708 | 2422.9222 | 89.46 | 116.1 | 49 | 26.4824 | 155.97 | 95.05
27 | 1 | 27 | 48576.8516 | 10024.5982 | 5911.916 | 2176.7889 | 83.3 | 103.85 | 38 | 20.6094 | 131.45 | 87.93
28 | 1 | 28 | 48953.1611 | 10119.9906 | 6135.2142 | 2422.9222 | 92.96 | 119.61 | 68 | 28.0445 | 157.17 | 89.61
29 | 1 | 29 | 48443.1778 | 10134.9937 | 5931.8849 | 2438.5515 | 71.03 | 85.37 | 27 | 9.0461 | 105.38 | 97.14
30 | 1 | 30 | 48210.8177 | 9379.5742 | 5840.0056 | 2176.7889 | 65.45 | 74.76 | 24 | 3.3815 | 83.47 | 91.39
31 | 1 | 31 | 48391.1388 | 9480.3728 | 5880.9263 | 2250.4553 | 76.35 | 92.16 | 31 | 13.4182 | 111.07 | 88.23
32 | 1 | 32 | 48917.8711 | 10119.9906 | 6041.5316 | 2330.3919 | 87.82 | 113.06 | 52 | 24.5049 | 148.62 | 93.9
33 | 1 | 33 | 48587.5206 | 9786.7239 | 5936.9964 | 2281.6256 | 71.04 | 83.77 | 27 | 8.1429 | 98.12 | 90.71
34 | 1 | 34 | 48638.6358 | 10119.9906 | 5986.4318 | 2369.0391 | 75.96 | 93.54 | 36 | 13.0187 | 117.24 | 95.12
35 | 1 | 35 | 48705.0514 | 10022.8558 | 5957.1072 | 2248.7401 | 72.96 | 86.96 | 40 | 9.7623 | 103.6 | 91.73
36 | 1 | 36 | 48836.6253 | 9604.2342 | 6038.5266 | 2310.4403 | 78.92 | 96.23 | 48 | 15.1613 | 117.36 | 89.43
37 | 1 | 37 | 48685.8082 | 9786.7239 | 5946.3558 | 2213.8246 | 71.8 | 84.87 | 33 | 9.1492 | 98.82 | 88.93
38 | 1 | 38 | 48495.3866 | 10119.9906 | 5932.299 | 2330.3919 | 80.88 | 100.87 | 52 | 17.4316 | 127.71 | 91.96
39 | 1 | 39 | 48781.4605 | 9786.7239 | 6020.7487 | 2310.4403 | 71.01 | 84.18 | 28 | 8.0199 | 98.28 | 90.76
40 | 1 | 40 | 48762.2056 | 9786.7239 | 6004.7479 | 2310.4403 | 80.46 | 98.11 | 55 | 16.1826 | 120.93 | 89.04
41 | 1 | 41 | 48710.5793 | 10134.9937 | 5968.6948 | 2438.5515 | 73.71 | 88.38 | 32 | 10.2755 | 108.07 | 93.58
42 | 1 | 42 | 48492.3759 | 9604.2342 | 5912.4636 | 1939.3474 | 79.17 | 95.48 | 32 | 16.6107 | 112.73 | 82.33
43 | 1 | 43 | 48559.1774 | 9547.4863 | 5902.0023 | 2281.6256 | 84.31 | 104.27 | 54 | 20.5141 | 129.38 | 83.68
44 | 1 | 44 | 48380.9357 | 9786.7239 | 5866.8226 | 2042.7755 | 77.74 | 95.47 | 43 | 15.6952 | 117.42 | 88.85
45 | 1 | 45 | 48913.292 | 9786.7239 | 6072.4825 | 2042.7755 | 77.58 | 93.4 | 44 | 13.4192 | 111.88 | 88.56
46 | 1 | 46 | 48769.9639 | 10091.6493 | 6002.1868 | 2422.9222 | 87.13 | 108.65 | 58 | 23.1829 | 138.57 | 86.47
47 | 1 | 47 | 48945.8124 | 10119.9906 | 6109.8517 | 2330.3919 | 82.07 | 101.11 | 54 | 17.2274 | 125.36 | 89.39
48 | 1 | 48 | 48662.5083 | 9425.2074 | 5994.4974 | 2310.4403 | 75.78 | 90.33 | 40 | 12.2553 | 106.61 | 86.24
49 | 1 | 49 | 48630.3572 | 10134.9937 | 6134.7075 | 2505.0334 | 90.7 | 115.36 | 68 | 26.2492 | 148.35 | 86.12
50 | 1 | 50 | 49214.4853 | 10119.9906 | 6130.0016 | 2422.9222 | 107.83 | 144.47 | 89 | 42.2093 | 200.7 | 91.22
51 | 1 | 51 | 49058.7328 | 9865.6354 | 5908.8604 | 2236.347 | 83.24 | 101.26 | 52 | 19.5538 | 127.02 | 88.73
52 | 2 | 1 | 48452.6107 | 9309.4859 | 5917.1561 | 1900.3836 | 71.72 | 84.73 | 34 | 8.8552 | 99.09 | 90.7
53 | 2 | 2 | 48203.269 | 9604.2342 | 5879.2401 | 2112.1264 | 76.89 | 94.88 | 36 | 15.4573 | 118.07 | 91.72
54 | 2 | 3 | 48666.8567 | 9786.7239 | 6014.2134 | 2176.7889 | 88.03 | 111.13 | 55 | 24.4436 | 143.12 | 87.93
55 | 2 | 4 | 48949.6352 | 9786.7239 | 6041.1143 | 2176.7889 | 83.08 | 102.43 | 50 | 19.2491 | 127.42 | 87.37
56 | 2 | 5 | 48687.2957 | 9604.2342 | 5967.9301 | 2250.4553 | 74.1 | 88.62 | 30 | 11.3972 | 105.64 | 89.14
57 | 2 | 6 | 48704.0554 | 9429.6672 | 6005.0198 | 2310.4403 | 71.73 | 83.99 | 29 | 8.7076 | 95.34 | 87.11
58 | 2 | 7 | 48909.4456 | 9786.7239 | 6050.1751 | 2310.4403 | 74.77 | 88.03 | 42 | 10.838 | 104.53 | 90.56
59 | 2 | 8 | 48890.7974 | 10119.9906 | 6026.7901 | 2330.3919 | 88.02 | 113.17 | 42 | 23.9539 | 150.79 | 95.29
60 | 2 | 9 | 48551.3478 | 10134.9937 | 5987.9259 | 2438.5515 | 78.72 | 97.86 | 29 | 15.5792 | 124.86 | 95.14
61 | 2 | 10 | 49095.7103 | 10119.9906 | 6123.1407 | 2330.3919 | 75.61 | 91.8 | 34 | 12.2685 | 113.07 | 94
62 | 2 | 11 | 48490.5488 | 9786.7239 | 5940.7971 | 2310.4403 | 81.78 | 100.67 | 50 | 18.6398 | 124.89 | 87.09
63 | 2 | 12 | 48637.4621 | 9786.7239 | 6030.2381 | 2369.0391 | 83.58 | 104.84 | 43 | 19.9392 | 133.87 | 91.27
64 | 2 | 13 | 48586.7425 | 9667.6522 | 5968.145 | 2213.8246 | 73.29 | 87.35 | 40 | 10.5806 | 103.6 | 90.18
65 | 2 | 14 | 48703.8294 | 9786.7239 | 5977.09 | 2007.6047 | 79.5 | 97.23 | 55 | 16.3182 | 120.37 | 89.61
66 | 2 | 15 | 48864.9736 | 10119.9906 | 6042.6605 | 2330.3919 | 79.43 | 97.64 | 51 | 15.9487 | 121.15 | 90.4
67 | 2 | 16 | 48871.6047 | 10119.9906 | 6089.763 | 2330.3919 | 86.47 | 109.46 | 52 | 22.7888 | 139.86 | 89.98
68 | 2 | 17 | 48898.0365 | 10119.9906 | 6012.7593 | 2330.3919 | 73.93 | 89.11 | 32 | 10.7671 | 108.56 | 93.03
69 | 2 | 18 | 48654.2608 | 9487.3302 | 5968.8069 | 2176.7889 | 74.8 | 88.74 | 42 | 11.76 | 107.43 | 90.71
70 | 2 | 19 | 48568.9208 | 9604.2342 | 5913.8461 | 1992.1845 | 76.37 | 92.19 | 36 | 13.5333 | 111.8 | 89.03
71 | 2 | 20 | 48736.3581 | 9604.2342 | 6008.7456 | 2176.7889 | 87.89 | 111.78 | 57 | 24.1087 | 143.87 | 89.46
72 | 2 | 21 | 48705.4936 | 10091.6493 | 6001.9375 | 2422.9222 | 81.31 | 100.22 | 44 | 17.0022 | 125.25 | 90.28
73 | 2 | 22 | 48711.7799 | 10024.5982 | 5994.5482 | 2165.5707 | 67.19 | 78.23 | 23 | 4.8687 | 89.73 | 93.23
74 | 2 | 23 | 48580.4737 | 9786.7239 | 5966.1537 | 2176.7889 | 73.55 | 88.58 | 30 | 10.9148 | 106.47 | 91.42
75 | 2 | 24 | 48587.1504 | 9514.8145 | 5895.9757 | 2310.4403 | 75.19 | 90.89 | 36 | 12.6256 | 109.98 | 89.3
76 | 2 | 25 | 48554.0526 | 9786.7239 | 5942.3565 | 2310.4403 | 72.51 | 85.91 | 35 | 9.478 | 101.63 | 91.37
77 | 2 | 26 | 48762.7746 | 10119.9906 | 6020.1708 | 2422.9222 | 88.98 | 115.94 | 40 | 25.9647 | 155.58 | 95.42
78 | 2 | 27 | 48576.8516 | 10024.5982 | 5911.916 | 2176.7889 | 82.99 | 103.94 | 51 | 19.9062 | 132.57 | 89.87
79 | 2 | 28 | 48953.1611 | 10119.9906 | 6135.2142 | 2422.9222 | 99.75 | 129.96 | 76 | 34.6545 | 174.61 | 89.52
80 | 2 | 29 | 48443.1778 | 10134.9937 | 5931.8849 | 2438.5515 | 71.1 | 84.25 | 32 | 8.7715 | 101.71 | 95.13
81 | 2 | 30 | 48210.8177 | 9379.5742 | 5840.0056 | 2176.7889 | 69.2 | 80.42 | 31 | 6.9543 | 93.08 | 90.56
82 | 2 | 31 | 48391.1388 | 9480.3728 | 5880.9263 | 2250.4553 | 72.64 | 86.2 | 31 | 9.5884 | 101.67 | 89.78
83 | 2 | 32 | 48917.8711 | 10119.9906 | 6041.5316 | 2330.3919 | 91.53 | 119.43 | 51 | 28.0229 | 159.21 | 92.93
84 | 2 | 33 | 48587.5206 | 9786.7239 | 5936.9964 | 2281.6256 | 78.75 | 95.58 | 51 | 15.6562 | 118.33 | 90.39
85 | 2 | 34 | 48638.6358 | 10119.9906 | 5986.4318 | 2369.0391 | 75.53 | 92.08 | 30 | 12.499 | 113.82 | 93.62
86 | 2 | 35 | 48705.0514 | 10022.8558 | 5957.1072 | 2248.7401 | 85.38 | 107.3 | 50 | 22.0773 | 136.69 | 87.47
87 | 2 | 36 | 48836.6253 | 9604.2342 | 6038.5266 | 2310.4403 | 87.02 | 109.53 | 54 | 22.7914 | 140.48 | 88.75
88 | 2 | 37 | 48685.8082 | 9786.7239 | 5946.3558 | 2213.8246 | 71.84 | 84.8 | 40 | 8.8526 | 98.61 | 89.59
89 | 2 | 38 | 48495.3866 | 10119.9906 | 5932.299 | 2330.3919 | 84.82 | 107.39 | 53 | 21.2595 | 138.44 | 90.71
90 | 2 | 39 | 48781.4605 | 9786.7239 | 6020.7487 | 2310.4403 | 80.46 | 99.22 | 40 | 17.2348 | 122.36 | 88.74
91 | 2 | 40 | 48762.2056 | 9786.7239 | 6004.7479 | 2310.4403 | 81.3 | 99.41 | 58 | 16.7081 | 122.91 | 89.04
92 | 2 | 41 | 48710.5793 | 10134.9937 | 5968.6948 | 2438.5515 | 82.62 | 102.45 | 42 | 18.963 | 131.58 | 91.01
93 | 2 | 42 | 48492.3759 | 9604.2342 | 5912.4636 | 1939.3474 | 78.7 | 95.57 | 41 | 15.745 | 115.68 | 86.96
94 | 2 | 43 | 48559.1774 | 9547.4863 | 5902.0023 | 2281.6256 | 88.24 | 110.54 | 51 | 24.4828 | 142 | 86.21
95 | 2 | 44 | 48380.9357 | 9786.7239 | 5866.8226 | 2042.7755 | 77.07 | 94.84 | 39 | 14.8983 | 117.14 | 89.92
96 | 2 | 45 | 48913.292 | 9786.7239 | 6072.4825 | 2042.7755 | 89.26 | 112.96 | 58 | 25.0277 | 143.1 | 85.38
97 | 2 | 46 | 48769.9639 | 10091.6493 | 6002.1868 | 2422.9222 | 92.53 | 118.12 | 67 | 27.8823 | 156.16 | 87.75
98 | 2 | 47 | 48945.8124 | 10119.9906 | 6109.8517 | 2330.3919 | 91.47 | 116.74 | 63 | 26.2923 | 150.64 | 86.57
99 | 2 | 48 | 48662.5083 | 9425.2074 | 5994.4974 | 2310.4403 | 84.14 | 103.66 | 57 | 19.9154 | 129.76 | 86.15
100 | 2 | 49 | 48630.3572 | 10134.9937 | 6134.7075 | 2505.0334 | 95.97 | 125.73 | 63 | 31.4878 | 169.21 | 91.84
101 | 2 | 50 | 49214.4853 | 10119.9906 | 6130.0016 | 2422.9222 | 107.07 | 142.67 | 89 | 41.2615 | 195.56 | 87.53
102 | 2 | 51 | 49058.7328 | 9865.6354 | 5908.8604 | 2236.347 | 91.7 | 115.58 | 55 | 27.9021 | 150.46 | 86.61
103 | 3 | 1 | 48452.6107 | 9309.4859 | 5917.1561 | 1900.3836 | 67.57 | 77.98 | 22 | 4.91 | 88.84 | 91.74
104 | 3 | 2 | 48203.269 | 9604.2342 | 5879.2401 | 2112.1264 | 73.17 | 88.67 | 27 | 11.9201 | 107.36 | 91.39
105 | 3 | 3 | 48666.8567 | 9786.7239 | 6014.2134 | 2176.7889 | 86.03 | 107.93 | 43 | 22.8565 | 138.79 | 87.76
106 | 3 | 4 | 48949.6352 | 9786.7239 | 6041.1143 | 2176.7889 | 87.27 | 109.84 | 50 | 23.6216 | 141.34 | 87.53
107 | 3 | 5 | 48687.2957 | 9604.2342 | 5967.9301 | 2250.4553 | 69.77 | 81.89 | 21 | 7.2385 | 95.78 | 92.1
108 | 3 | 6 | 48704.0554 | 9429.6672 | 6005.0198 | 2310.4403 | 67.87 | 77.94 | 23 | 4.9166 | 87.13 | 89.69
109 | 3 | 7 | 48909.4456 | 9786.7239 | 6050.1751 | 2310.4403 | 72.41 | 85.66 | 23 | 9.0649 | 101.25 | 91.07
110 | 3 | 8 | 48890.7974 | 10119.9906 | 6026.7901 | 2330.3919 | 83.45 | 106.47 | 32 | 19.8286 | 141.24 | 98.01
111 | 3 | 9 | 48551.3478 | 10134.9937 | 5987.9259 | 2438.5515 | 80.31 | 100.62 | 35 | 17.338 | 129.31 | 95.05
112 | 3 | 10 | 49095.7103 | 10119.9906 | 6123.1407 | 2330.3919 | 78.93 | 96.86 | 32 | 15.5132 | 120.07 | 92.14
113 | 3 | 11 | 48490.5488 | 9786.7239 | 5940.7971 | 2310.4403 | 76.2 | 91.92 | 44 | 13.3719 | 111.95 | 90.62
114 | 3 | 12 | 48637.4621 | 9786.7239 | 6030.2381 | 2369.0391 | 80.76 | 99.75 | 37 | 17.3767 | 123.96 | 89.21
115 | 3 | 13 | 48586.7425 | 9667.6522 | 5968.145 | 2213.8246 | 79.78 | 97.91 | 38 | 17.0495 | 120.08 | 86.97
116 | 3 | 14 | 48703.8294 | 9786.7239 | 5977.09 | 2007.6047 | 77.42 | 93.43 | 27 | 14.5123 | 115.11 | 89.46
117 | 3 | 15 | 48864.9736 | 10119.9906 | 6042.6605 | 2330.3919 | 80.85 | 100.57 | 29 | 17.9424 | 127.11 | 91.25
118 | 3 | 16 | 48871.6047 | 10119.9906 | 6089.763 | 2330.3919 | 74.68 | 90.26 | 38 | 11.3882 | 109.13 | 91.68
119 | 3 | 17 | 48898.0365 | 10119.9906 | 6012.7593 | 2330.3919 | 86.78 | 110.14 | 31 | 23.8177 | 142.15 | 89.56
120 | 3 | 18 | 48654.2608 | 9487.3302 | 5968.8069 | 2176.7889 | 73.15 | 86.93 | 26 | 10.3499 | 103.89 | 90.26
121 | 3 | 19 | 48568.9208 | 9604.2342 | 5913.8461 | 1992.1845 | 68.78 | 80.03 | 30 | 6.1986 | 90.84 | 89.57
122 | 3 | 20 | 48736.3581 | 9604.2342 | 6008.7456 | 2176.7889 | 84.17 | 106.28 | 41 | 21.0487 | 133.84 | 88.08
123 | 3 | 21 | 48705.4936 | 10091.6493 | 6001.9375 | 2422.9222 | 77.35 | 94.7 | 34 | 13.6222 | 119.34 | 94.61
124 | 3 | 22 | 48711.7799 | 10024.5982 | 5994.5482 | 2165.5707 | 76.67 | 93.78 | 31 | 14.0377 | 116.38 | 92.33
125 | 3 | 23 | 48580.4737 | 9786.7239 | 5966.1537 | 2176.7889 | 80.12 | 99 | 36 | 17.4385 | 124.03 | 88.96
126 | 3 | 24 | 48587.1504 | 9514.8145 | 5895.9757 | 2310.4403 | 75.29 | 90.98 | 32 | 12.7962 | 109.94 | 88.97
127 | 3 | 25 | 48554.0526 | 9786.7239 | 5942.3565 | 2310.4403 | 72.5 | 85.75 | 33 | 9.4954 | 101.56 | 90.67
128 | 3 | 26 | 48762.7746 | 10119.9906 | 6020.1708 | 2422.9222 | 87.9 | 114.45 | 47 | 24.947 | 154.75 | 98.03
129 | 3 | 27 | 48576.8516 | 10024.5982 | 5911.916 | 2176.7889 | 81.75 | 101.03 | 35 | 18.8685 | 126.58 | 87.91
130 | 3 | 28 | 48953.1611 | 10119.9906 | 6135.2142 | 2422.9222 | 100.41 | 132.64 | 66 | 35.468 | 182.66 | 93.7
131 | 3 | 29 | 48443.1778 | 10134.9937 | 5931.8849 | 2438.5515 | 73.77 | 89.24 | 28 | 11.2947 | 110.04 | 94.04
132 | 3 | 30 | 48210.8177 | 9379.5742 | 5840.0056 | 2176.7889 | 74.83 | 89.48 | 29 | 12.6282 | 108.67 | 88.57
133 | 3 | 31 | 48391.1388 | 9480.3728 | 5880.9263 | 2250.4553 | 72.45 | 85.61 | 30 | 9.6085 | 100.52 | 88.63
134 | 3 | 32 | 48917.8711 | 10119.9906 | 6041.5316 | 2330.3919 | 94.27 | 123.82 | 63 | 30.6994 | 167.44 | 93.71
135 | 3 | 33 | 48587.5206 | 9786.7239 | 5936.9964 | 2281.6256 | 82.24 | 102.33 | 39 | 19.307 | 129.26 | 89.6
136 | 3 | 34 | 48638.6358 | 10119.9906 | 5986.4318 | 2369.0391 | 78.7 | 98 | 30 | 15.7632 | 125.79 | 95.99
137 | 3 | 35 | 48705.0514 | 10022.8558 | 5957.1072 | 2248.7401 | 78.15 | 95.13 | 37 | 15.1689 | 116.43 | 88.58
138 | 3 | 36 | 48836.6253 | 9604.2342 | 6038.5266 | 2310.4403 | 83.65 | 104.58 | 43 | 20.0163 | 133.09 | 90.19
139 | 3 | 37 | 48685.8082 | 9786.7239 | 5946.3558 | 2213.8246 | 72.12 | 84.39 | 42 | 9.087 | 97.69 | 87.51
140 | 3 | 38 | 48495.3866 | 10119.9906 | 5932.299 | 2330.3919 | 92.88 | 121.27 | 58 | 29.4747 | 162.67 | 90.4
141 | 3 | 39 | 48781.4605 | 9786.7239 | 6020.7487 | 2310.4403 | 78.37 | 96.45 | 27 | 15.4598 | 118.96 | 89.78
142 | 3 | 40 | 48762.2056 | 9786.7239 | 6004.7479 | 2310.4403 | 79.99 | 96.51 | 47 | 15.7867 | 116.74 | 85.44
143 | 3 | 41 | 48710.5793 | 10134.9937 | 5968.6948 | 2438.5515 | 78.51 | 95.28 | 37 | 14.6733 | 119.15 | 90.27
144 | 3 | 42 | 48492.3759 | 9604.2342 | 5912.4636 | 1939.3474 | 79.64 | 97.32 | 42 | 17.043 | 118.91 | 85.82
145 | 3 | 43 | 48559.1774 | 9547.4863 | 5902.0023 | 2281.6256 | 81.75 | 100.9 | 50 | 18.1211 | 127.43 | 90.16
146 | 3 | 44 | 48380.9357 | 9786.7239 | 5866.8226 | 2042.7755 | 76.41 | 93.42 | 39 | 14.332 | 114.63 | 89.35
147 | 3 | 45 | 48913.292 | 9786.7239 | 6072.4825 | 2042.7755 | 75.6 | 90.52 | 33 | 11.8114 | 107.64 | 88.05
148 | 3 | 46 | 48769.9639 | 10091.6493 | 6002.1868 | 2422.9222 | 91.96 | 117.62 | 60 | 27.5305 | 156.55 | 89.15
149 | 3 | 47 | 48945.8124 | 10119.9906 | 6109.8517 | 2330.3919 | 79.01 | 96.65 | 44 | 14.2131 | 120.02 | 92.02
150 | 3 | 48 | 48662.5083 | 9425.2074 | 5994.4974 | 2310.4403 | 83.86 | 103.45 | 46 | 20.3032 | 128.81 | 84.47
151 | 3 | 49 | 48630.3572 | 10134.9937 | 6134.7075 | 2505.0334 | 97.86 | 128.24 | 60 | 33.4096 | 173.03 | 90.71
152 | 3 | 50 | 49214.4853 | 10119.9906 | 6130.0016 | 2422.9222 | 107.33 | 144.13 | 76 | 41.5712 | 201.59 | 92.39
153 | 3 | 51 | 49058.7328 | 9865.6354 | 5908.8604 | 2236.347 | 78.94 | 95.3 | 41 | 15.3533 | 117.8 | 89.34
154 | 4 | 1 | 48452.6107 | 9309.4859 | 5917.1561 | 1900.3836 | 73.72 | 87.92 | 30 | 11.0284 | 103.7 | 88.46
155 | 4 | 2 | 48203.269 | 9604.2342 | 5879.2401 | 2112.1264 | 70.16 | 83.54 | 25 | 8.8383 | 99.25 | 92.44
156 | 4 | 3 | 48666.8567 | 9786.7239 | 6014.2134 | 2176.7889 | 87.47 | 109.97 | 49 | 24.0918 | 141.08 | 86.63
157 | 4 | 4 | 48949.6352 | 9786.7239 | 6041.1143 | 2176.7889 | 73.34 | 86.82 | 50 | 9.6516 | 101.63 | 89.27
158 | 4 | 5 | 48687.2957 | 9604.2342 | 5967.9301 | 2250.4553 | 75.93 | 91.41 | 32 | 13.3532 | 110.38 | 88.62
159 | 4 | 6 | 48704.0554 | 9429.6672 | 6005.0198 | 2310.4403 | 68.74 | 79.11 | 29 | 5.5693 | 88.56 | 89.04
160 | 4 | 7 | 48909.4456 | 9786.7239 | 6050.1751 | 2310.4403 | 71.19 | 82.62 | 24 | 7.605 | 94.74 | 89.06
161 | 4 | 8 | 48890.7974 | 10119.9906 | 6026.7901 | 2330.3919 | 88.24 | 113.56 | 44 | 24.4597 | 151.94 | 95.76
162 | 4 | 9 | 48551.3478 | 10134.9937 | 5987.9259 | 2438.5515 | 75.36 | 90.98 | 31 | 12.3535 | 111.41 | 92.49
163 | 4 | 10 | 49095.7103 | 10119.9906 | 6123.1407 | 2330.3919 | 77.58 | 95.26 | 26 | 14.1973 | 118.49 | 93.58
164 | 4 | 11 | 48490.5488 | 9786.7239 | 5940.7971 | 2310.4403 | 77.31 | 93.4 | 45 | 14.3304 | 112.38 | 87.15
165 | 4 | 12 | 48637.4621 | 9786.7239 | 6030.2381 | 2369.0391 | 82.69 | 101.58 | 52 | 19.1003 | 126.09 | 86.81
166 | 4 | 13 | 48586.7425 | 9667.6522 | 5968.145 | 2213.8246 | 70 | 81.89 | 28 | 7.2751 | 94.19 | 90.36
167 | 4 | 14 | 48703.8294 | 9786.7239 | 5977.09 | 2007.6047 | 74.7 | 88.94 | 39 | 11.8173 | 107.66 | 89.97
168 | 4 | 15 | 48864.9736 | 10119.9906 | 6042.6605 | 2330.3919 | 78.74 | 96.48 | 29 | 15.5552 | 118.85 | 89.28
169 | 4 | 16 | 48871.6047 | 10119.9906 | 6089.763 | 2330.3919 | 79.99 | 98.04 | 44 | 16.296 | 120.84 | 90.07
170 | 4 | 17 | 48898.0365 | 10119.9906 | 6012.7593 | 2330.3919 | 72.25 | 86.29 | 24 | 9.597 | 103.97 | 92.76
171 | 4 | 18 | 48654.2608 | 9487.3302 | 5968.8069 | 2176.7889 | 73.16 | 86.58 | 28 | 10.4933 | 103.89 | 91
172 | 4 | 19 | 48568.9208 | 9604.2342 | 5913.8461 | 1992.1845 | 75.09 | 89.82 | 31 | 12.3098 | 106.56 | 87.58
173 | 4 | 20 | 48736.3581 | 9604.2342 | 6008.7456 | 2176.7889 | 73.88 | 88.66 | 42 | 10.5353 | 106.31 | 92.05
174 | 4 | 21 | 48705.4936 | 10091.6493 | 6001.9375 | 2422.9222 | 76.01 | 91.25 | 40 | 12.1429 | 110.4 | 89.71
175 | 4 | 22 | 48711.7799 | 10024.5982 | 5994.5482 | 2165.5707 | 75.66 | 92.69 | 25 | 13.3795 | 114.2 | 92.59
176 | 4 | 23 | 48580.4737 | 9786.7239 | 5966.1537 | 2176.7889 | 70.3 | 83.21 | 24 | 7.9358 | 98.15 | 92
177 | 4 | 24 | 48587.1504 | 9514.8145 | 5895.9757 | 2310.4403 | 75.04 | 90.88 | 29 | 12.8836 | 109.61 | 88.65
178 | 4 | 25 | 48554.0526 | 9786.7239 | 5942.3565 | 2310.4403 | 69.94 | 81.91 | 24 | 7.2271 | 94.83 | 91.02
179 | 4 | 26 | 48762.7746 | 10119.9906 | 6020.1708 | 2422.9222 | 87.21 | 111.88 | 52 | 24.2971 | 147.99 | 93.43
180 | 4 | 27 | 48576.8516 | 10024.5982 | 5911.916 | 2176.7889 | 82 | 100.56 | 43 | 18.9608 | 124.68 | 86.92
181 | 4 | 28 | 48953.1611 | 10119.9906 | 6135.2142 | 2422.9222 | 83.28 | 103.42 | 59 | 18.3429 | 130.34 | 90.68
182 | 4 | 29 | 48443.1778 | 10134.9937 | 5931.8849 | 2438.5515 | 76.19 | 92.81 | 35 | 13.9163 | 115.67 | 92.97
183 | 4 | 30 | 48210.8177 | 9379.5742 | 5840.0056 | 2176.7889 | 72.39 | 85.49 | 24 | 10.3722 | 101.39 | 88.53
184 | 4 | 31 | 48391.1388 | 9480.3728 | 5880.9263 | 2250.4553 | 76.09 | 91.43 | 30 | 13.0977 | 110.73 | 88.61
185 | 4 | 32 | 48917.8711 | 10119.9906 | 6041.5316 | 2330.3919 | 83.99 | 106.42 | 56 | 20.3692 | 138.94 | 94.93
186 | 4 | 33 | 48587.5206 | 9786.7239 | 5936.9964 | 2281.6256 | 71.17 | 84.57 | 29 | 8.2071 | 100.83 | 92.74
187 | 4 | 34 | 48638.6358 | 10119.9906 | 5986.4318 | 2369.0391 | 80.56 | 100.55 | 32 | 17.6302 | 127.72 | 92.18
188 | 4 | 35 | 48705.0514 | 10022.8558 | 5957.1072 | 2248.7401 | 74.05 | 88.56 | 41 | 10.9956 | 106.22 | 90.34
189 | 4 | 36 | 48836.6253 | 9604.2342 | 6038.5266 | 2310.4403 | 82.49 | 101.62 | 48 | 18.5081 | 125.75 | 87.14
190 | 4 | 37 | 48685.8082 | 9786.7239 | 5946.3558 | 2213.8246 | 71.34 | 83.3 | 32 | 8.7536 | 95.54 | 87.32
191 | 4 | 38 | 48495.3866 | 10119.9906 | 5932.299 | 2330.3919 | 86.05 | 109.92 | 38 | 23.0743 | 142.85 | 90.61
192 | 4 | 39 | 48781.4605 | 9786.7239 | 6020.7487 | 2310.4403 | 68.56 | 79.57 | 33 | 5.2912 | 91.08 | 91.56
193 | 4 | 40 | 48762.2056 | 9786.7239 | 6004.7479 | 2310.4403 | 83.98 | 103.02 | 42 | 19.7584 | 127.05 | 85.2
194 | 4 | 41 | 48710.5793 | 10134.9937 | 5968.6948 | 2438.5515 | 79.33 | 97.13 | 34 | 15.678 | 122.74 | 91.36
195 | 4 | 42 | 48492.3759 | 9604.2342 | 5912.4636 | 1939.3474 | 69.66 | 81.65 | 29 | 7.0177 | 94.22 | 90.83
196 | 4 | 43 | 48559.1774 | 9547.4863 | 5902.0023 | 2281.6256 | 77.71 | 94.64 | 35 | 14.4031 | 117.53 | 90.18
197 | 4 | 44 | 48380.9357 | 9786.7239 | 5866.8226 | 2042.7755 | 78.68 | 96.46 | 41 | 16.5391 | 117.78 | 86.07
198 | 4 | 45 | 48913.292 | 9786.7239 | 6072.4825 | 2042.7755 | 71.54 | 83.86 | 37 | 7.3955 | 97.01 | 89.96
199 | 4 | 46 | 48769.9639 | 10091.6493 | 6002.1868 | 2422.9222 | 87.21 | 108.21 | 57 | 22.6363 | 136.55 | 84.69
200 | 4 | 47 | 48945.8124 | 10119.9906 | 6109.8517 | 2330.3919 | 79.67 | 97.9 | 53 | 14.9112 | 122.29 | 91.99
201 | 4 | 48 | 48662.5083 | 9425.2074 | 5994.4974 | 2310.4403 | 81.99 | 100.06 | 48 | 18.2036 | 123.63 | 85.29
202 | 4 | 49 | 48630.3572 | 10134.9937 | 6134.7075 | 2505.0334 | 89.11 | 114.15 | 54 | 24.8623 | 149.56 | 90.99
203 | 4 | 50 | 49214.4853 | 10119.9906 | 6130.0016 | 2422.9222 | 105.15 | 139.88 | 83 | 39.254 | 193.52 | 92.21
204 | 4 | 51 | 49058.7328 | 9865.6354 | 5908.8604 | 2236.347 | 73.47 | 86.56 | 48 | 9.5881 | 103.15 | 90.81
205 | 5 | 1 | 48452.6107 | 9309.4859 | 5917.1561 | 1900.3836 | 66.96 | 76.53 | 21 | 4.2823 | 86.86 | 93.68
206 | 5 | 2 | 48203.269 | 9604.2342 | 5879.2401 | 2112.1264 | 77.35 | 95.6 | 32 | 15.9235 | 118.15 | 90.27
207 | 5 | 3 | 48666.8567 | 9786.7239 | 6014.2134 | 2176.7889 | 88.38 | 110.66 | 56 | 24.8099 | 141.72 | 85.22
208 | 5 | 4 | 48949.6352 | 9786.7239 | 6041.1143 | 2176.7889 | 79.14 | 95.32 | 47 | 14.9217 | 115.05 | 86.13
209 | 5 | 5 | 48687.2957 | 9604.2342 | 5967.9301 | 2250.4553 | 74.09 | 87.21 | 29 | 11.2967 | 103.6 | 91.15
210 | 5 | 6 | 48704.0554 | 9429.6672 | 6005.0198 | 2310.4403 | 73.23 | 85.69 | 28 | 9.9015 | 99.38 | 89.31
211 | 5 | 7 | 48909.4456 | 9786.7239 | 6050.1751 | 2310.4403 | 74.55 | 88.77 | 38 | 10.5349 | 105.11 | 89.4
212 | 5 | 8 | 48890.7974 | 10119.9906 | 6026.7901 | 2330.3919 | 81.3 | 100.96 | 42 | 17.1306 | 129.74 | 95.87
213 | 5 | 9 | 48551.3478 | 10134.9937 | 5987.9259 | 2438.5515 | 81.79 | 101.82 | 35 | 18.5068 | 129.28 | 91.2
214 | 5 | 10 | 49095.7103 | 10119.9906 | 6123.1407 | 2330.3919 | 71.13 | 83.85 | 33 | 7.357 | 98.11 | 92.22
215 | 5 | 11 | 48490.5488 | 9786.7239 | 5940.7971 | 2310.4403 | 71.26 | 83.92 | 43 | 8.001 | 98.89 | 91.79
216 | 5 | 12 | 48637.4621 | 9786.7239 | 6030.2381 | 2369.0391 | 75.2 | 90.71 | 40 | 11.3068 | 111.33 | 93.23
217 | 5 | 13 | 48586.7425 | 9667.6522 | 5968.145 | 2213.8246 | 78.6 | 96.13 | 35 | 15.7456 | 117.64 | 88.42
218 | 5 | 14 | 48703.8294 | 9786.7239 | 5977.09 | 2007.6047 | 86.4 | 106.94 | 49 | 23.1258 | 135.23 | 85.22
219 | 5 | 15 | 48864.9736 | 10119.9906 | 6042.6605 | 2330.3919 | 81.32 | 100.2 | 42 | 17.8553 | 124.48 | 89.38
220 | 5 | 16 | 48871.6047 | 10119.9906 | 6089.763 | 2330.3919 | 77.79 | 95.49 | 41 | 13.9955 | 117.71 | 92.24
221 | 5 | 17 | 48898.0365 | 10119.9906 | 6012.7593 | 2330.3919 | 76.37 | 92.73 | 35 | 13.1414 | 113.81 | 91.73
222 | 5 | 18 | 48654.2608 | 9487.3302 | 5968.8069 | 2176.7889 | 71.88 | 83.94 | 33 | 8.5908 | 98.3 | 90.37
223 | 5 | 19 | 48568.9208 | 9604.2342 | 5913.8461 | 1992.1845 | 71.12 | 83.72 | 33 | 8.0381 | 96.82 | 89.17
224 | 5 | 20 | 48736.3581 | 9604.2342 | 6008.7456 | 2176.7889 | 82.52 | 103.21 | 46 | 19.163 | 129.61 | 89.86
225 | 5 | 21 | 48705.4936 | 10091.6493 | 6001.9375 | 2422.9222 | 87.68 | 110.74 | 51 | 23.1276 | 144.43 | 91.97
226 | 5 | 22 | 48711.7799 | 10024.5982 | 5994.5482 | 2165.5707 | 73.5 | 88.65 | 29 | 10.8096 | 107.03 | 92.32
227 | 5 | 23 | 48580.4737 | 9786.7239 | 5966.1537 | 2176.7889 | 70.1 | 82.31 | 34 | 7.0295 | 95.84 | 91.25
228 | 5 | 24 | 48587.1504 | 9514.8145 | 5895.9757 | 2310.4403 | 70.77 | 82.92 | 30 | 8.1768 | 96.82 | 90.81
229 | 5 | 25 | 48554.0526 | 9786.7239 | 5942.3565 | 2310.4403 | 72.53 | 86.19 | 32 | 9.3492 | 101.81 | 90.11
230 | 5 | 26 | 48762.7746 | 10119.9906 | 6020.1708 | 2422.9222 | 84.63 | 107.93 | 46 | 21.2597 | 141.79 | 94.85
231 | 5 | 27 | 48576.8516 | 10024.5982 | 5911.916 | 2176.7889 | 87.32 | 109.79 | 47 | 24.085 | 139.73 | 84.99
232 | 5 | 28 | 48953.1611 | 10119.9906 | 6135.2142 | 2422.9222 | 98.15 | 128.66 | 70 | 33.0291 | 174.41 | 92.76
233 | 5 | 29 | 48443.1778 | 10134.9937 | 5931.8849 | 2438.5515 | 67.33 | 78.34 | 19 | 5.2475 | 91.92 | 95.61
234 | 5 | 30 | 48210.8177 | 9379.5742 | 5840.0056 | 2176.7889 | 75.89 | 91.13 | 22 | 13.7116 | 111.13 | 87.39
235 | 5 | 31 | 48391.1388 | 9480.3728 | 5880.9263 | 2250.4553 | 74.01 | 88.42 | 28 | 11.1237 | 106.57 | 90.62
236 | 5 | 32 | 48917.8711 | 10119.9906 | 6041.5316 | 2330.3919 | 84.94 | 107.48 | 66 | 21.0392 | 138.55 | 92
237 | 5 | 33 | 48587.5206 | 9786.7239 | 5936.9964 | 2281.6256 | 78.17 | 95.17 | 42 | 15.003 | 116.21 | 88.58
238 | 5 | 34 | 48638.6358 | 10119.9906 | 5986.4318 | 2369.0391 | 83.27 | 104.76 | 34 | 20.3182 | 137.36 | 95.79
239 | 5 | 35 | 48705.0514 | 10022.8558 | 5957.1072 | 2248.7401 | 80.66 | 99.54 | 52 | 17.2492 | 124.92 | 90.64
240 | 5 | 36 | 48836.6253 | 9604.2342 | 6038.5266 | 2310.4403 | 78.65 | 96.06 | 49 | 14.631 | 117.45 | 88.97
241 | 5 | 37 | 48685.8082 | 9786.7239 | 5946.3558 | 2213.8246 | 71.11 | 82.77 | 37 | 7.8832 | 94.79 | 88.07
242 | 5 | 38 | 48495.3866 | 10119.9906 | 5932.299 | 2330.3919 | 87.14 | 111.87 | 53 | 23.7747 | 147.38 | 92.45
243 | 5 | 39 | 48781.4605 | 9786.7239 | 6020.7487 | 2310.4403 | 79.55 | 96.44 | 48 | 15.8261 | 116.53 | 87.3
244 | 5 | 40 | 48762.2056 | 9786.7239 | 6004.7479 | 2310.4403 | 85.97 | 106.25 | 56 | 21.2159 | 132.21 | 84.32
245 | 5 | 41 | 48710.5793 | 10134.9937 | 5968.6948 | 2438.5515 | 79.35 | 96 | 42 | 15.6603 | 119.16 | 88.74
246 | 5 | 42 | 48492.3759 | 9604.2342 | 5912.4636 | 1939.3474 | 70.74 | 83.03 | 32 | 7.8312 | 96.07 | 89.52
247 | 5 | 43 | 48559.1774 | 9547.4863 | 5902.0023 | 2281.6256 | 86.53 | 107.75 | 64 | 22.1237 | 136.08 | 83.86
248 | 5 | 44 | 48380.9357 | 9786.7239 | 5866.8226 | 2042.7755 | 74.19 | 89.41 | 41 | 11.8031 | 107.83 | 89.61
249 | 5 | 45 | 48913.292 | 9786.7239 | 6072.4825 | 2042.7755 | 78.34 | 94.52 | 42 | 13.9155 | 113.29 | 87.9
250 | 5 | 46 | 48769.9639 | 10091.6493 | 6002.1868 | 2422.9222 | 81.24 | 98.77 | 63 | 16.7146 | 121.74 | 88.58
251 | 5 | 47 | 48945.8124 | 10119.9906 | 6109.8517 | 2330.3919 | 87.04 | 109.42 | 63 | 21.9821 | 139.71 | 89.13
252 | 5 | 48 | 48662.5083 | 9425.2074 | 5994.4974 | 2310.4403 | 82.67 | 101.84 | 56 | 18.7183 | 126.39 | 86.96
253 | 5 | 49 | 48630.3572 | 10134.9937 | 6134.7075 | 2505.0334 | 97.64 | 127.55 | 70 | 33.1234 | 170.53 | 89.45
254 | 5 | 50 | 49214.4853 | 10119.9906 | 6130.0016 | 2422.9222 | 105.47 | 140.64 | 77 | 39.3438 | 194.65 | 91.68
255 | 5 | 51 | 49058.7328 | 9865.6354 | 5908.8604 | 2236.347 | 83.24 | 102.22 | 69 | 18.8121 | 127.53 | 88.44
256 | 6 | 1 | 48452.6107 | 9309.4859 | 5917.1561 | 1900.3836 | 66.21 | 75.99 | 24 | 3.4883 | 85.38 | 92.56
257 | 6 | 2 | 48203.269 | 9604.2342 | 5879.2401 | 2112.1264 | 67.98 | 80.1 | 30 | 6.8187 | 93.72 | 93.23
258 | 6 | 3 | 48666.8567 | 9786.7239 | 6014.2134 | 2176.7889 | 76.9 | 93.42 | 45 | 13.7118 | 114.14 | 89.41
259 | 6 | 4 | 48949.6352 | 9786.7239 | 6041.1143 | 2176.7889 | 77.47 | 93.6 | 45 | 13.7259 | 113.11 | 88.54
260 | 6 | 5 | 48687.2957 | 9604.2342 | 5967.9301 | 2250.4553 | 70.1 | 82.31 | 30 | 7.6366 | 95.91 | 91.27
261 | 6 | 6 | 48704.0554 | 9429.6672 | 6005.0198 | 2310.4403 | 67.37 | 76.86 | 14 | 4.2692 | 85.72 | 90.19
262 | 6 | 7 | 48909.4456 | 9786.7239 | 6050.1751 | 2310.4403 | 75.49 | 89.73 | 36 | 11.6878 | 106.62 | 88.67
263 | 6 | 8 | 48890.7974 | 10119.9906 | 6026.7901 | 2330.3919 | 87.34 | 112.89 | 39 | 23.563 | 152.5 | 98.22
264 | 6 | 9 | 48551.3478 | 10134.9937 | 5987.9259 | 2438.5515 | 80.79 | 101.77 | 26 | 17.8602 | 131.81 | 95.61
265 | 6 | 10 | 49095.7103 | 10119.9906 | 6123.1407 | 2330.3919 | 81.61 | 101.28 | 41 | 17.9707 | 128.01 | 92.59
266 | 6 | 11 | 48490.5488 | 9786.7239 | 5940.7971 | 2310.4403 | 72.84 | 86.74 | 48 | 9.7434 | 103.67 | 91.26
267 | 6 | 12 | 48637.4621 | 9786.7239 | 6030.2381 | 2369.0391 | 78.26 | 95.4 | 40 | 14.7746 | 116.78 | 89.05
268 | 6 | 13 | 48586.7425 | 9667.6522 | 5968.145 | 2213.8246 | 73.89 | 88.69 | 30 | 11.1492 | 105.47 | 89.71
269 | 6 | 14 | 48703.8294 | 9786.7239 | 5977.09 | 2007.6047 | 74.59 | 88.86 | 39 | 11.5772 | 106.53 | 89.91
270 | 6 | 15 | 48864.9736 | 10119.9906 | 6042.6605 | 2330.3919 | 75.25 | 90.95 | 40 | 12.0568 | 110.68 | 92.17
271 | 6 | 16 | 48871.6047 | 10119.9906 | 6089.763 | 2330.3919 | 75.38 | 91.46 | 52 | 11.5879 | 111.43 | 92.7
272 | 6 | 17 | 48898.0365 | 10119.9906 | 6012.7593 | 2330.3919 | 74.38 | 89.56 | 30 | 11.5666 | 108 | 90.56
273 | 6 | 18 | 48654.2608 | 9487.3302 | 5968.8069 | 2176.7889 | 72.15 | 84.19 | 31 | 8.9277 | 99.81 | 92.52
274 | 6 | 19 | 48568.9208 | 9604.2342 | 5913.8461 | 1992.1845 | 71.4 | 84.14 | 37 | 8.3045 | 98.2 | 90
275 | 6 | 20 | 48736.3581 | 9604.2342 | 6008.7456 | 2176.7889 | 79.18 | 97.63 | 51 | 15.7742 | 121.38 | 92.21
276 | 6 | 21 | 48705.4936 | 10091.6493 | 6001.9375 | 2422.9222 | 77.87 | 95.92 | 36 | 13.9601 | 121.26 | 94.63
277 | 6 | 22 | 48711.7799 | 10024.5982 | 5994.5482 | 2165.5707 | 74.01 | 89.54 | 40 | 11.3178 | 108.28 | 92.34
278 | 6 | 23 | 48580.4737 | 9786.7239 | 5966.1537 | 2176.7889 | 72.94 | 87.59 | 29 | 10.3467 | 104.47 | 90.83
279 | 6 | 24 | 48587.1504 | 9514.8145 | 5895.9757 | 2310.4403 | 68.38 | 79.54 | 33 | 6.015 | 91.68 | 91.78
280 | 6 | 25 | 48554.0526 | 9786.7239 | 5942.3565 | 2310.4403 | 68.06 | 79.02 | 32 | 5.2001 | 91.3 | 93.12
281 | 6 | 26 | 48762.7746 | 10119.9906 | 6020.1708 | 2422.9222 | 85.46 | 109.28 | 54 | 21.979 | 144.09 | 95.64
282 | 6 | 27 | 48576.8516 | 10024.5982 | 5911.916 | 2176.7889 | 78.75 | 96.47 | 44 | 15.9289 | 119.27 | 88.98
283 | 6 | 28 | 48953.1611 | 10119.9906 | 6135.2142 | 2422.9222 | 96.23 | 125.4 | 73 | 31.29 | 169.11 | 92.61
284 | 6 | 29 | 48443.1778 | 10134.9937 | 5931.8849 | 2438.5515 | 69.77 | 82.85 | 26 | 7.6639 | 99.7 | 94.89
285 | 6 | 30 | 48210.8177 | 9379.5742 | 5840.0056 | 2176.7889 | 72.81 | 86.33 | 29 | 10.6045 | 102.44 | 88.49
286 | 6 | 31 | 48391.1388 | 9480.3728 | 5880.9263 | 2250.4553 | 69.64 | 81.37 | 24 | 6.6694 | 94.19 | 90.68
287 | 6 | 32 | 48917.8711 | 10119.9906 | 6041.5316 | 2330.3919 | 84.71 | 108.22 | 57 | 21.2764 | 141.29 | 94.81
288 | 6 | 33 | 48587.5206 | 9786.7239 | 5936.9964 | 2281.6256 | 72.18 | 85.82 | 33 | 9.1286 | 102.86 | 92.7
289 | 6 | 34 | 48638.6358 | 10119.9906 | 5986.4318 | 2369.0391 | 78.18 | 95.74 | 39 | 15.0375 | 119.12 | 91.92
290 | 6 | 35 | 48705.0514 | 10022.8558 | 5957.1072 | 2248.7401 | 82.18 | 101.98 | 43 | 19.1361 | 126.78 | 87.05
291 | 6 | 36 | 48836.6253 | 9604.2342 | 6038.5266 | 2310.4403 | 78.45 | 95.79 | 45 | 14.6508 | 117.93 | 90.17
292 | 6 | 37 | 48685.8082 | 9786.7239 | 5946.3558 | 2213.8246 | 71.65 | 83.87 | 45 | 8.3685 | 96.85 | 88.91
293 | 6 | 38 | 48495.3866 | 10119.9906 | 5932.299 | 2330.3919 | 87.53 | 112.37 | 52 | 24.2225 | 147.55 | 91.4
294 | 6 | 39 | 48781.4605 | 9786.7239 | 6020.7487 | 2310.4403 | 79.24 | 97.02 | 43 | 15.6926 | 118.08 | 88.05
295 | 6 | 40 | 48762.2056 | 9786.7239 | 6004.7479 | 2310.4403 | 81.2 | 99.28 | 53 | 16.8319 | 121.41 | 86.21
296 | 6 | 41 | 48710.5793 | 10134.9937 | 5968.6948 | 2438.5515 | 80.15 | 98.3 | 47 | 16.2431 | 123.94 | 90.56
297 | 6 | 42 | 48492.3759 | 9604.2342 | 5912.4636 | 1939.3474 | 74.31 | 88.62 | 36 | 11.6364 | 104.95 | 88.65
298 | 6 | 43 | 48559.1774 | 9547.4863 | 5902.0023 | 2281.6256 | 77.96 | 94.8 | 43 | 14.1312 | 116.8 | 89.45
299 | 6 | 44 | 48380.9357 | 9786.7239 | 5866.8226 | 2042.7755 | 77.96 | 95.32 | 53 | 15.4465 | 116.21 | 87.53
300 | 6 | 45 | 48913.292 | 9786.7239 | 6072.4825 | 2042.7755 | 71.1 | 83.18 | 38 | 6.7683 | 96.45 | 91.37
301 | 6 | 46 | 48769.9639 | 10091.6493 | 6002.1868 | 2422.9222 | 81.21 | 100.28 | 55 | 16.6555 | 127.07 | 91.88
302 | 6 | 47 | 48945.8124 | 10119.9906 | 6109.8517 | 2330.3919 | 79.43 | 97.22 | 58 | 14.31 | 120.51 | 91.81
303 | 6 | 48 | 48662.5083 | 9425.2074 | 5994.4974 | 2310.4403 | 77.81 | 93.95 | 41 | 14.1244 | 113.55 | 87.37
304 | 6 | 49 | 48630.3572 | 10134.9937 | 6134.7075 | 2505.0334 | 87.71 | 111.06 | 59 | 23.2078 | 142.43 | 88.68
305 | 6 | 50 | 49214.4853 | 10119.9906 | 6130.0016 | 2422.9222 | 110.01 | 148.3 | 78 | 44.3109 | 206.43 | 90.27
306 | 6 | 51 | 49058.7328 | 9865.6354 | 5908.8604 | 2236.347 | 76.94 | 92.51 | 48 | 13.0831 | 114.13 | 92.2
307 | 7 | 1 | 48452.6107 | 9309.4859 | 5917.1561 | 1900.3836 | 67.81 | 77.95 | 19 | 4.6935 | 88.66 | 92.73
308 | 7 | 2 | 48203.269 | 9604.2342 | 5879.2401 | 2112.1264 | 74.87 | 91.45 | 29 | 13.5311 | 111.95 | 90.85
309 | 7 | 3 | 48666.8567 | 9786.7239 | 6014.2134 | 2176.7889 | 88.98 | 112.47 | 50 | 25.4244 | 145.83 | 87.98
310 | 7 | 4 | 48949.6352 | 9786.7239 | 6041.1143 | 2176.7889 | 82.63 | 102.31 | 54 | 18.726 | 128.08 | 88.22
311 | 7 | 5 | 48687.2957 | 9604.2342 | 5967.9301 | 2250.4553 | 72.03 | 85.27 | 26 | 9.3155 | 100.34 | 90.61
312 | 7 | 6 | 48704.0554 | 9429.6672 | 6005.0198 | 2310.4403 | 66.8 | 76.22 | 20 | 3.7256 | 84.42 | 90.17
313 | 7 | 7 | 48909.4456 | 9786.7239 | 6050.1751 | 2310.4403 | 74.86 | 88.83 | 42 | 10.7683 | 105.03 | 89.04
314 | 7 | 8 | 48890.7974 | 10119.9906 | 6026.7901 | 2330.3919 | 93.13 | 121.62 | 40 | 28.8568 | 165.52 | 96.38
315 | 7 | 9 | 48551.3478 | 10134.9937 | 5987.9259 | 2438.5515 | 82.13 | 103.34 | 33 | 18.7371 | 133.75 | 94.29
316 | 7 | 10 | 49095.7103 | 10119.9906 | 6123.1407 | 2330.3919 | 76.55 | 92.7 | 41 | 12.6372 | 113.17 | 92.59
317 | 7 | 11 | 48490.5488 | 9786.7239 | 5940.7971 | 2310.4403 | 77.22 | 93.78 | 43 | 13.7699 | 114.57 | 89.12
318 | 7 | 12 | 48637.4621 | 9786.7239 | 6030.2381 | 2369.0391 | 81.29 | 100.06 | 54 | 17.3691 | 125.8 | 91.31
319 | 7 | 13 | 48586.7425 | 9667.6522 | 5968.145 | 2213.8246 | 74.54 | 88.64 | 40 | 11.573 | 103.94 | 87.48
320 | 7 | 14 | 48703.8294 | 9786.7239 | 5977.09 | 2007.6047 | 86.76 | 109.59 | 45 | 23.42 | 140.25 | 87.33
321 | 7 | 15 | 48864.9736 | 10119.9906 | 6042.6605 | 2330.3919 | 80.56 | 100.19 | 27 | 17.4569 | 125.96 | 91.2
322 | 7 | 16 | 48871.6047 | 10119.9906 | 6089.763 | 2330.3919 | 74.17 | 88.89 | 48 | 10.1696 | 106.38 | 91.31
323 | 7 | 17 | 48898.0365 | 10119.9906 | 6012.7593 | 2330.3919 | 74.49 | 89.41 | 27 | 11.0477 | 108.41 | 91.55
324 | 7 | 18 | 48654.2608 | 9487.3302 | 5968.8069 | 2176.7889 | 69 | 79.98 | 22 | 6.2108 | 92.39 | 91.29
325 | 7 | 19 | 48568.9208 | 9604.2342 | 5913.8461 | 1992.1845 | 73.69 | 87.21 | 34 | 10.4148 | 101.28 | 86.78
326 | 7 | 20 | 48736.3581 | 9604.2342 | 6008.7456 | 2176.7889 | 79.04 | 97.83 | 41 | 15.6701 | 120.98 | 90.54
327 | 7 | 21 | 48705.4936 | 10091.6493 | 6001.9375 | 2422.9222 | 80.42 | 99.81 | 32 | 16.3004 | 126.8 | 93.08
328 | 7 | 22 | 48711.7799 | 10024.5982 | 5994.5482 | 2165.5707 | 77.83 | 95.47 | 34 | 14.8433 | 118.16 | 91.71
329 | 7 | 23 | 48580.4737 | 9786.7239 | 5966.1537 | 2176.7889 | 79.66 | 97.57 | 42 | 16.4815 | 119.77 | 87.58
330 | 7 | 24 | 48587.1504 | 9514.8145 | 5895.9757 | 2310.4403 | 72.16 | 85.96 | 25 | 9.8878 | 102.53 | 90.45
331 | 7 | 25 | 48554.0526 | 9786.7239 | 5942.3565 | 2310.4403 | 73.38 | 87.2 | 35 | 10.0426 | 103.57 | 90.26
332 | 7 | 26 | 48762.7746 | 10119.9906 | 6020.1708 | 2422.9222 | 90.72 | 118.13 | 57 | 27.2684 | 159.38 | 95.79
333 | 7 | 27 | 48576.8516 | 10024.5982 | 5911.916 | 2176.7889 | 78.77 | 96.01 | 38 | 15.5154 | 119.27 | 91.15
334 | 7 | 28 | 48953.1611 | 10119.9906 | 6135.2142 | 2422.9222 | 104.77 | 138.56 | 79 | 39.2483 | 189.58 | 89.8
335 | 7 | 29 | 48443.1778 | 10134.9937 | 5931.8849 | 2438.5515 | 75.86 | 92.08 | 33 | 13.2548 | 113.89 | 93.01
336 | 7 | 30 | 48210.8177 | 9379.5742 | 5840.0056 | 2176.7889 | 75.49 | 90.03 | 32 | 12.9934 | 108.63 | 87.23
337 | 7 | 31 | 48391.1388 | 9480.3728 | 5880.9263 | 2250.4553 | 79.46 | 96.56 | 39 | 16.0546 | 118.17 | 87.38
338 | 7 | 32 | 48917.8711 | 10119.9906 | 6041.5316 | 2330.3919 | 87.86 | 112.98 | 55 | 23.9758 | 148.78 | 93.18
339 | 7 | 33 | 48587.5206 | 9786.7239 | 5936.9964 | 2281.6256 | 73.69 | 87.98 | 34 | 10.5762 | 105.96 | 91.59
340 | 7 | 34 | 48638.6358 | 10119.9906 | 5986.4318 | 2369.0391 | 80.15 | 100.23 | 24 | 16.9584 | 128.78 | 94.77
341 | 7 | 35 | 48705.0514 | 10022.8558 | 5957.1072 | 2248.7401 | 81.84 | 101.72 | 47 | 18.1538 | 129.4 | 91.12
342 | 7 | 36 | 48836.6253 | 9604.2342 | 6038.5266 | 2310.4403 | 85.96 | 108.16 | 50 | 21.6714 | 137.05 | 88.14
343 | 7 | 37 | 48685.8082 | 9786.7239 | 5946.3558 | 2213.8246 | 69.3 | 79.97 | 31 | 6.3934 | 90.57 | 89.29
344 | 7 | 38 | 48495.3866 | 10119.9906 | 5932.299 | 2330.3919 | 94.75 | 123.4 | 53 | 31.4035 | 164.81 | 86.9
345 | 7 | 39 | 48781.4605 | 9786.7239 | 6020.7487 | 2310.4403 | 80.86 | 99.37 | 45 | 16.9827 | 121.74 | 86.81
346 | 7 | 40 | 48762.2056 | 9786.7239 | 6004.7479 | 2310.4403 | 78.79 | 94.19 | 48 | 14.1574 | 113.06 | 86.49
347 | 7 | 41 | 48710.5793 | 10134.9937 | 5968.6948 | 2438.5515 | 82.3 | 100.79 | 42 | 18.1467 | 127.96 | 89.01
348 | 7 | 42 | 48492.3759 | 9604.2342 | 5912.4636 | 1939.3474 | 80.86 | 98.69 | 47 | 17.5206 | 120.51 | 85.54
349 | 7 | 43 | 48559.1774 | 9547.4863 | 5902.0023 | 2281.6256 | 86.3 | 107.93 | 41 | 22.4137 | 137.81 | 86.24
350 | 7 | 44 | 48380.9357 | 9786.7239 | 5866.8226 | 2042.7755 | 76.49 | 93.1 | 54 | 13.8432 | 113.69 | 89.08
351 | 7 | 45 | 48913.292 | 9786.7239 | 6072.4825 | 2042.7755 | 78.56 | 95.1 | 45 | 14.0139 | 114.08 | 87.48
352 | 7 | 46 | 48769.9639 | 10091.6493 | 6002.1868 | 2422.9222 | 89.26 | 113.04 | 62 | 24.633 | 146.9 | 87.96
353 | 7 | 47 | 48945.8124 | 10119.9906 | 6109.8517 | 2330.3919 | 83.48 | 103.31 | 53 | 18.045 | 129.74 | 89.2
354 | 7 | 48 | 48662.5083 | 9425.2074 | 5994.4974 | 2310.4403 | 78.84 | 95.36 | 47 | 14.7674 | 115.37 | 86.96
355 | 7 | 49 | 48630.3572 | 10134.9937 | 6134.7075 | 2505.0334 | 90.41 | 116.11 | 71 | 25.4891 | 152.48 | 91.39
356 | 7 | 50 | 49214.4853 | 10119.9906 | 6130.0016 | 2422.9222 | 106.44 | 141.93 | 81 | 40.4214 | 195.29 | 91.09
357 | 7 | 51 | 49058.7328 | 9865.6354 | 5908.8604 | 2236.347 | 85.1 | 105 | 55 | 20.9057 | 132.92 | 88.36
358 | 8 | 1 | 48452.6107 | 9309.4859 | 5917.1561 | 1900.3836 | 63.91 | 72.42 | 14 | 1.9338 | 79.91 | 92.82
359 | 8 | 2 | 48203.269 | 9604.2342 | 5879.2401 | 2112.1264 | 66.67 | 78.21 | 32 | 6.0126 | 90.62 | 93.48
360 | 8 | 3 | 48666.8567 | 9786.7239 | 6014.2134 | 2176.7889 | 71.81 | 85.24 | 47 | 9.1178 | 101.16 | 92.43
361 | 8 | 4 | 48949.6352 | 9786.7239 | 6041.1143 | 2176.7889 | 74.05 | 88.49 | 38 | 10.9712 | 105.07 | 89.97
362 | 8 | 5 | 48687.2957 | 9604.2342 | 5967.9301 | 2250.4553 | 69.55 | 82.16 | 19 | 7.8234 | 97.76 | 93.45
363 | 8 | 6 | 48704.0554 | 9429.6672 | 6005.0198 | 2310.4403 | 65.94 | 75.49 | 13 | 3.7748 | 83.74 | 90.93
364 | 8 | 7 | 48909.4456 | 9786.7239 | 6050.1751 | 2310.4403 | 66.87 | 76.9 | 24 | 3.8524 | 87.05 | 92.3
365 | 8 | 8 | 48890.7974 | 10119.9906 | 6026.7901 | 2330.3919 | 83.27 | 106.25 | 29 | 19.9993 | 141.23 | 98.27
366 | 8 | 9 | 48551.3478 | 10134.9937 | 5987.9259 | 2438.5515 | 80.96 | 101.37 | 28 | 18.2547 | 130.7 | 93.38
367 | 8 | 10 | 49095.7103 | 10119.9906 | 6123.1407 | 2330.3919 | 80.34 | 98.64 | 44 | 17.1611 | 122.75 | 90.96
368 | 8 | 11 | 48490.5488 | 9786.7239 | 5940.7971 | 2310.4403 | 75.09 | 90.04 | 44 | 12.5492 | 108.29 | 89.43
369 | 8 | 12 | 48637.4621 | 9786.7239 | 6030.2381 | 2369.0391 | 76.72 | 93.24 | 35 | 13.8482 | 114.99 | 91.47
370 | 8 | 13 | 48586.7425 | 9667.6522 | 5968.145 | 2213.8246 | 72.8 | 87.12 | 30 | 10.622 | 104.72 | 92.02
371 | 8 | 14 | 48703.8294 | 9786.7239 | 5977.09 | 2007.6047 | 68.56 | 79.73 | 34 | 6.1297 | 91.92 | 91.43
372 | 8 | 15 | 48864.9736 | 10119.9906 | 6042.6605 | 2330.3919 | 72.75 | 87.32 | 31 | 10.265 | 105.09 | 92.17
373 | 8 | 16 | 48871.6047 | 10119.9906 | 6089.763 | 2330.3919 | 76.86 | 93.75 | 38 | 14.0456 | 114.61 | 90.97
374 | 8 | 17 | 48898.0365 | 10119.9906 | 6012.7593 | 2330.3919 | 74.6 | 90.92 | 26 | 12.4553 | 112.28 | 93.36
375 | 8 | 18 | 48654.2608 | 9487.3302 | 5968.8069 | 2176.7889 | 71.33 | 83.72 | 22 | 9.0577 | 98.52 | 90.25
376 | 8 | 19 | 48568.9208 | 9604.2342 | 5913.8461 | 1992.1845 | 67.17 | 77.95 | 18 | 5.2252 | 88.93 | 91.82
377 | 8 | 20 | 48736.3581 | 9604.2342 | 6008.7456 | 2176.7889 | 77.12 | 94.86 | 35 | 14.7393 | 115.99 | 90.02
378 | 8 | 21 | 48705.4936 | 10091.6493 | 6001.9375 | 2422.9222 | 77.68 | 95.34 | 30 | 14.4311 | 120.3 | 94.23
379 | 8 | 22 | 48711.7799 | 10024.5982 | 5994.5482 | 2165.5707 | 74.86 | 90.92 | 31 | 12.7618 | 110.2 | 90.73
380 | 8 | 23 | 48580.4737 | 9786.7239 | 5966.1537 | 2176.7889 | 69.28 | 81.64 | 21 | 7.4088 | 95.44 | 91.94
381 | 8 | 24 | 48587.1504 | 9514.8145 | 5895.9757 | 2310.4403 | 65.74 | 75.53 | 20 | 4.1623 | 85.12 | 91.96
382 | 8 | 25 | 48554.0526 | 9786.7239 | 5942.3565 | 2310.4403 | 65.57 | 75.19 | 21 | 3.4376 | 85.38 | 93.53
383 | 8 | 26 | 48762.7746 | 10119.9906 | 6020.1708 | 2422.9222 | 85.72 | 110.11 | 42 | 23.251 | 145.83 | 94.56
384 | 8 | 27 | 48576.8516 | 10024.5982 | 5911.916 | 2176.7889 | 74.34 | 89.49 | 31 | 11.9894 | 108.25 | 90.86
385 | 8 | 28 | 48953.1611 | 10119.9906 | 6135.2142 | 2422.9222 | 88.18 | 112.42 | 55 | 23.7768 | 147.54 | 93.66
386 | 8 | 29 | 48443.1778 | 10134.9937 | 5931.8849 | 2438.5515 | 66.21 | 76.76 | 27 | 4.7375 | 88.32 | 93.36
387 | 8 | 30 | 48210.8177 | 9379.5742 | 5840.0056 | 2176.7889 | 64.63 | 74.02 | 19 | 3.1762 | 83.3 | 92.92
388 | 8 | 31 | 48391.1388 | 9480.3728 | 5880.9263 | 2250.4553 | 69.44 | 81.4 | 27 | 7.2737 | 94.32 | 90.66
389 | 8 | 32 | 48917.8711 | 10119.9906 | 6041.5316 | 2330.3919 | 87.84 | 114.24 | 45 | 25.1572 | 153.36 | 96.62
390 | 8 | 33 | 48587.5206 | 9786.7239 | 5936.9964 | 2281.6256 | 70.15 | 82.56 | 30 | 7.8391 | 97.16 | 92.22
391 | 8 | 34 | 48638.6358 | 10119.9906 | 5986.4318 | 2369.0391 | 77.89 | 96.57 | 29 | 15.8497 | 123.79 | 96.11
392 | 8 | 35 | 48705.0514 | 10022.8558 | 5957.1072 | 2248.7401 | 71.22 | 84.91 | 32 | 9.0791 | 100.81 | 91.88
393 | 8 | 36 | 48836.6253 | 9604.2342 | 6038.5266 | 2310.4403 | 74.23 | 89.3 | 39 | 10.8836 | 107.84 | 91.77
394 | 8 | 37 | 48685.8082 | 9786.7239 | 5946.3558 | 2213.8246 | 70.59 | 82.47 | 30 | 8.4125 | 94.75 | 87.71
395 | 8 | 38 | 48495.3866 | 10119.9906 | 5932.299 | 2330.3919 | 77.04 | 95.45 | 38 | 14.6761 | 119.63 | 93.49
396 | 8 | 39 | 48781.4605 | 9786.7239 | 6020.7487 | 2310.4403 | 68.48 | 79.95 | 25 | 6.0259 | 92.17 | 91.81
397 | 8 | 40 | 48762.2056 | 9786.7239 | 6004.7479 | 2310.4403 | 77.54 | 93.4 | 47 | 13.8564 | 112.06 | 87.35
398 | 8 | 41 | 48710.5793 | 10134.9937 | 5968.6948 | 2438.5515 | 78.43 | 96.62 | 35 | 15.2503 | 122.5 | 93.47
399 | 8 | 42 | 48492.3759 | 9604.2342 | 5912.4636 | 1939.3474 | 69.71 | 81.73 | 23 | 7.7534 | 94.11 | 89.56
400 | 8 | 43 | 48559.1774 | 9547.4863 | 5902.0023 | 2281.6256 | 73.7 | 87.83 | 36 | 10.848 | 105.45 | 90.4
401 | 8 | 44 | 48380.9357 | 9786.7239 | 5866.8226 | 2042.7755 | 78.69 | 97.28 | 34 | 17.2406 | 121.17 | 88.5
402 | 8 | 45 | 48913.292 | 9786.7239 | 6072.4825 | 2042.7755 | 75.46 | 90.92 | 34 | 11.8541 | 109.17 | 89.87
403 | 8 | 46 | 48769.9639 | 10091.6493 | 6002.1868 | 2422.9222 | 84.1 | 105.17 | 44 | 20.4846 | 134.05 | 88.97
404 | 8 | 47 | 48945.8124 | 10119.9906 | 6109.8517 | 2330.3919 | 81.84 | 101.36 | 53 | 17.5388 | 126.88 | 90.11
405 | 8 | 48 | 48662.5083 | 9425.2074 | 5994.4974 | 2310.4403 | 83.98 | 103.25 | 45 | 20.8524 | 127.67 | 82.51
406 | 8 | 49 | 48630.3572 | 10134.9937 | 6134.7075 | 2505.0334 | 96.13 | 125.14 | 57 | 32.1494 | 167.81 | 90.74
407 | 8 | 50 | 49214.4853 | 10119.9906 | 6130.0016 | 2422.9222 | 92.58 | 120.2 | 65 | 27.7026 | 161.35 | 93.85
408 | 8 | 51 | 49058.7328 | 9865.6354 | 5908.8604 | 2236.347 | 81.4 | 100.45 | 46 | 18.5048 | 127.1 | 91.56
409 | 9 | 1 | 48452.6107 | 9309.4859 | 5917.1561 | 1900.3836 | 67.54 | 78.33 | 25 | 5.0199 | 89.47 | 92.9
410 | 9 | 2 | 48203.269 | 9604.2342 | 5879.2401 | 2112.1264 | 71.2 | 85.44 | 32 | 10.1345 | 101.96 | 91.65
411 | 9 | 3 | 48666.8567 | 9786.7239 | 6014.2134 | 2176.7889 | 85.87 | 108.05 | 53 | 22.5363 | 137.71 | 87.52
412 | 9 | 4 | 48949.6352 | 9786.7239 | 6041.1143 | 2176.7889 | 75.7 | 90.97 | 39 | 12.0938 | 108.59 | 89.27
413 | 9 | 5 | 48687.2957 | 9604.2342 | 5967.9301 | 2250.4553 | 67.71 | 78.03 | 29 | 5.3251 | 88.12 | 90.61
414 | 9 | 6 | 48704.0554 | 9429.6672 | 6005.0198 | 2310.4403 | 66.29 | 75.64 | 18 | 3.5413 | 83.7 | 90.87
415 | 9 | 7 | 48909.4456 | 9786.7239 | 6050.1751 | 2310.4403 | 70.72 | 82.85 | 26 | 7.0417 | 96.08 | 90.88
416 | 9 | 8 | 48890.7974 | 10119.9906 | 6026.7901 | 2330.3919 | 89.68 | 115.64 | 48 | 25.8381 | 154.9 | 94.9
417 | 9 | 9 | 48551.3478 | 10134.9937 | 5987.9259 | 2438.5515 | 78.63 | 97.08 | 29 | 15.8713 | 122.9 | 93.63
418 | 9 | 10 | 49095.7103 | 10119.9906 | 6123.1407 | 2330.3919 | 79.15 | 97.28 | 41 | 15.6142 | 120.91 | 92.02
419 | 9 | 11 | 48490.5488 | 9786.7239 | 5940.7971 | 2310.4403 | 80.15 | 98.91 | 49 | 17.2111 | 123.21 | 89.72
420 | 9 | 12 | 48637.4621 | 9786.7239 | 6030.2381 | 2369.0391 | 76.29 | 92.15 | 44 | 12.7895 | 111.64 | 89.42
421 | 9 | 13 | 48586.7425 | 9667.6522 | 5968.145 | 2213.8246 | 73.06 | 86.96 | 36 | 10.2811 | 101.85 | 89.1
422 | 9 | 14 | 48703.8294 | 9786.7239 | 5977.09 | 2007.6047 | 74.68 | 88.81 | 35 | 11.7541 | 105.74 | 88.01
423 | 9 | 15 | 48864.9736 | 10119.9906 | 6042.6605 | 2330.3919 | 77.5 | 94.83 | 30 | 14.609 | 116.84 | 90.51
424 | 9 | 16 | 48871.6047 | 10119.9906 | 6089.763 | 2330.3919 | 86.39 | 109.83 | 40 | 22.8294 | 139.58 | 89.87
425 | 9 | 17 | 48898.0365 | 10119.9906 | 6012.7593 | 2330.3919 | 76.38 | 93.22 | 27 | 13.7907 | 115.02 | 91.5
426 | 9 | 18 | 48654.2608 | 9487.3302 | 5968.8069 | 2176.7889 | 70.18 | 81.95 | 29 | 7.4207 | 95.64 | 91.31
427 | 9 | 19 | 48568.9208 | 9604.2342 | 5913.8461 | 1992.1845 | 71.21 | 84.09 | 25 | 8.5458 | 98.31 | 90.39
428 | 9 | 20 | 48736.3581 | 9604.2342 | 6008.7456 | 2176.7889 | 85.64 | 108.2 | 46 | 22.6124 | 135.87 | 86.01
429 | 9 | 21 | 48705.4936 | 10091.6493 | 6001.9375 | 2422.9222 | 83.36 | 104.02 | 50 | 19.3964 | 132.35 | 91.65
430 | 9 | 22 | 48711.7799 | 10024.5982 | 5994.5482 | 2165.5707 | 75.2 | 91.86 | 31 | 12.8873 | 111.89 | 92.25
431 | 9 | 23 | 48580.4737 | 9786.7239 | 5966.1537 | 2176.7889 | 71.55 | 84.64 | 36 | 8.7651 | 99.32 | 90.52
432 | 9 | 24 | 48587.1504 | 9514.8145 | 5895.9757 | 2310.4403 | 75.59 | 91.48 | 25 | 13.2301 | 110.94 | 90.07
433 | 9 | 25 | 48554.0526 | 9786.7239 | 5942.3565 | 2310.4403 | 70.21 | 82.83 | 39 | 7.1835 | 97.08 | 92.27
434 | 9 | 26 | 48762.7746 | 10119.9906 | 6020.1708 | 2422.9222 | 88.6 | 114.83 | 62 | 25.5518 | 153.49 | 95.68
435 | 9 | 27 | 48576.8516 | 10024.5982 | 5911.916 | 2176.7889 | 79.66 | 97.82 | 39 | 16.7359 | 121.35 | 88.65
436 | 9 | 28 | 48953.1611 | 10119.9906 | 6135.2142 | 2422.9222 | 102.63 | 136.26 | 75 | 37.5537 | 186.51 | 92.25
437 | 9 | 29 | 48443.1778 | 10134.9937 | 5931.8849 | 2438.5515 | 71.38 | 84.77 | 29 | 9.2367 | 102.46 | 94.46
438 | 9 | 30 | 48210.8177 | 9379.5742 | 5840.0056 | 2176.7889 | 70.54 | 82.73 | 29 | 8.6264 | 97.25 | 89.66
439 | 9 | 31 | 48391.1388 | 9480.3728 | 5880.9263 | 2250.4553 | 73.17 | 86.63 | 27 | 10.2876 | 102.16 | 89.39
440 | 9 | 32 | 48917.8711 | 10119.9906 | 6041.5316 | 2330.3919 | 87.25 | 112.65 | 50 | 23.8749 | 148.66 | 94.77
441 | 9 | 33 | 48587.5206 | 9786.7239 | 5936.9964 | 2281.6256 | 75.28 | 90.36 | 39 | 12.3553 | 107.59 | 87.8
442 | 9 | 34 | 48638.6358 | 10119.9906 | 5986.4318 | 2369.0391 | 80.04 | 99.67 | 34 | 17.2753 | 126.37 | 92.93
443 | 9 | 35 | 48705.0514 | 10022.8558 | 5957.1072 | 2248.7401 | 86.73 | 109.35 | 40 | 24.0343 | 140.12 | 87.33
444 | 9 | 36 | 48836.6253 | 9604.2342 | 6038.5266 | 2310.4403 | 80.89 | 99.72 | 46 | 17.0495 | 122.14 | 87.99
445 | 9 | 37 | 48685.8082 | 9786.7239 | 5946.3558 | 2213.8246 | 78.01 | 93.95 | 42 | 15.246 | 111.37 | 86.03
446 | 9 | 38 | 48495.3866 | 10119.9906 | 5932.299 | 2330.3919 | 85.81 | 109.47 | 48 | 23.0358 | 140.85 | 89.8
447 | 9 | 39 | 48781.4605 | 9786.7239 | 6020.7487 | 2310.4403 | 75.44 | 90.62 | 40 | 12.2899 | 107.76 | 88.5
448 | 9 | 40 | 48762.2056 | 9786.7239 | 6004.7479 | 2310.4403 | 71.47 | 83.99 | 39 | 7.5525 | 97.63 | 90.5
449 | 9 | 41 | 48710.5793 | 10134.9937 | 5968.6948 | 2438.5515 | 81.19 | 100.28 | 42 | 17.6766 | 127.63 | 90.81
450 | 9 | 42 | 48492.3759 | 9604.2342 | 5912.4636 | 1939.3474 | 74.1 | 88.69 | 36 | 11.6425 | 104.93 | 88.15
451 | 9 | 43 | 48559.1774 | 9547.4863 | 5902.0023 | 2281.6256 | 81.53 | 100.39 | 45 | 18.2029 | 124.31 | 86.35
452 | 9 | 44 | 48380.9357 | 9786.7239 | 5866.8226 | 2042.7755 | 86.93 | 110.46 | 45 | 24.8038 | 142.27 | 86.43
453 | 9 | 45 | 48913.292 | 9786.7239 | 6072.4825 | 2042.7755 | 77.77 | 94.12 | 35 | 13.7487 | 113.71 | 88.69
454 | 9 | 46 | 48769.9639 | 10091.6493 | 6002.1868 | 2422.9222 | 87.55 | 110.68 | 65 | 23.2348 | 143.19 | 88.68
455 | 9 | 47 | 48945.8124 | 10119.9906 | 6109.8517 | 2330.3919 | 80.44 | 99.81 | 46 | 15.7023 | 125.05 | 92.59
456 | 9 | 48 | 48662.5083 | 9425.2074 | 5994.4974 | 2310.4403 | 87.93 | 108.83 | 53 | 24.1296 | 135.62 | 80.26
457 | 9 | 49 | 48630.3572 | 10134.9937 | 6134.7075 | 2505.0334 | 94 | 121.23 | 72 | 29.5917 | 159.64 | 88.55
458 | 9 | 50 | 49214.4853 | 10119.9906 | 6130.0016 | 2422.9222 | 104.96 | 139.98 | 78 | 39.6845 | 193.95 | 92.78
459 | 9 | 51 | 49058.7328 | 9865.6354 | 5908.8604 | 2236.347 | 84.22 | 103.64 | 46 | 20.7809 | 131.04 | 88
460 | 10 | 1 | 48452.6107 | 9309.4859 | 5917.1561 | 1900.3836 | 69.34 | 80.68 | 25 | 6.5222 | 92.44 | 91.11
461 | 10 | 2 | 48203.269 | 9604.2342 | 5879.2401 | 2112.1264 | 74.24 | 90.39 | 30 | 13.0933 | 110.86 | 92.85
462 | 10 | 3 | 48666.8567 | 9786.7239 | 6014.2134 | 2176.7889 | 84.58 | 106.38 | 46 | 21.2743 | 136.19 | 89.54
463 | 10 | 4 | 48949.6352 | 9786.7239 | 6041.1143 | 2176.7889 | 84.74 | 105.67 | 49 | 21.1258 | 132.8 | 86.96
464 | 10 | 5 | 48687.2957 | 9604.2342 | 5967.9301 | 2250.4553 | 75.36 | 90.45 | 36 | 12.9376 | 111.76 | 92.9
465 | 10 | 6 | 48704.0554 | 9429.6672 | 6005.0198 | 2310.4403 | 66.99 | 76.7 | 21 | 4.0995 | 85.61 | 90.36
466 | 10 | 7 | 48909.4456 | 9786.7239 | 6050.1751 | 2310.4403 | 66.83 | 76.3 | 23 | 3.3263 | 85.66 | 91.47
467 | 10 | 8 | 48890.7974 | 10119.9906 | 6026.7901 | 2330.3919 | 85.37 | 108.45 | 41 | 21.7051 | 142.77 | 95.33
468 | 10 | 9 | 48551.3478 | 10134.9937 | 5987.9259 | 2438.5515 | 78.05 | 96.23 | 32 | 15.1478 | 120.15 | 92.48
469 | 10 | 10 | 49095.7103 | 10119.9906 | 6123.1407 | 2330.3919 | 79.35 | 97.22 | 30 | 15.7476 | 120.27 | 91.21
470 | 10 | 11 | 48490.5488 | 9786.7239 | 5940.7971 | 2310.4403 | 76.15 | 91.29 | 46 | 13.1523 | 109.04 | 87.64
471 | 10 | 12 | 48637.4621 | 9786.7239 | 6030.2381 | 2369.0391 | 81.94 | 100.8 | 44 | 18.4363 | 126.54 | 89.65
472 | 10 | 13 | 48586.7425 | 9667.6522 | 5968.145 | 2213.8246 | 70.83 | 83.46 | 32 | 8.1809 | 97.35 | 90.78
473 | 10 | 14 | 48703.8294 | 9786.7239 | 5977.09 | 2007.6047 | 80.95 | 98.85 | 45 | 17.7476 | 123.23 | 87.59
474 | 10 | 15 | 48864.9736 | 10119.9906 | 6042.6605 | 2330.3919 | 73.16 | 87.35 | 30 | 10.2443 | 105.45 | 93.2
475 | 10 | 16 | 48871.6047 | 10119.9906 | 6089.763 | 2330.3919 | 71.13 | 84.23 | 42 | 7.6672 | 99.79 | 93.52
476 | 10 | 17 | 48898.0365 | 10119.9906 | 6012.7593 | 2330.3919 | 75.41 | 91.06 | 32 | 12.5294 | 111.56 | 91.22
477 | 10 | 18 | 48654.2608 | 9487.3302 | 5968.8069 | 2176.7889 | 71.35 | 83.84 | 24 | 8.5874 | 99.83 | 92.15
478 | 10 | 19 | 48568.9208 | 9604.2342 | 5913.8461 | 1992.1845 | 67.39 | 77.92 | 28 | 4.62 | 88.61 | 92.03
479 | 10 | 20 | 48736.3581 | 9604.2342 | 6008.7456 | 2176.7889 | 75.88 | 92.59 | 32 | 12.8315 | 112.72 | 91.29
480 | 10 | 21 | 48705.4936 | 10091.6493 | 6001.9375 | 2422.9222 | 73.48 | 88.35 | 32 | 9.7976 | 108.25 | 94.56
481 | 10 | 22 | 48711.7799 | 10024.5982 | 5994.5482 | 2165.5707 | 74.77 | 90.58 | 28 | 12.1773 | 108.9 | 90.26
482 | 10 | 23 | 48580.4737 | 9786.7239 | 5966.1537 | 2176.7889 | 73.21 | 87.32 | 28 | 10.6211 | 104.26 | 89.82
483 | 10 | 24 | 48587.1504 | 9514.8145 | 5895.9757 | 2310.4403 | 71.84 | 85.52 | 24 | 9.7078 | 101.09 | 89.9
484 | 10 | 25 | 48554.0526 | 9786.7239 | 5942.3565 | 2310.4403 | 76.33 | 92.72 | 27 | 13.2941 | 113.64 | 92.43
485 | 10 | 26 | 48762.7746 | 10119.9906 | 6020.1708 | 2422.9222 | 81.7 | 102.91 | 42 | 18.9517 | 133.2 | 94.96
486 | 10 | 27 | 48576.8516 | 10024.5982 | 5911.916 | 2176.7889 | 72.65 | 86.53 | 38 | 9.948 | 103.06 | 91.46
487 | 10 | 28 | 48953.1611 | 10119.9906 | 6135.2142 | 2422.9222 | 94.43 | 123.11 | 61 | 29.5825 | 165.53 | 93.11
488 | 10 | 29 | 48443.1778 | 10134.9937 | 5931.8849 | 2438.5515 | 67.48 | 78.9 | 16 | 5.5148 | 92.15 | 94.35
489 | 10 | 30 | 48210.8177 | 9379.5742 | 5840.0056 | 2176.7889 | 72.04 | 85.3 | 27 | 10.0317 | 101.86 | 89.93
490 | 10 | 31 | 48391.1388 | 9480.3728 | 5880.9263 | 2250.4553 | 68.73 | 79.72 | 23 | 5.8057 | 92.05 | 91.46
491 | 10 | 32 | 48917.8711 | 10119.9906 | 6041.5316 | 2330.3919 | 89.98 | 117.02 | 49 | 26.5535 | 156.08 | 93.73
492 | 10 | 33 | 48587.5206 | 9786.7239 | 5936.9964 | 2281.6256 | 72.88 | 86.99 | 37 | 9.862 | 104.02 | 91.02
493 | 10 | 34 | 48638.6358 | 10119.9906 | 5986.4318 | 2369.0391 | 78.27 | 97.03 | 29 | 15.499 | 123.42 | 94.32
494 | 10 | 35 | 48705.0514 | 10022.8558 | 5957.1072 | 2248.7401 | 78.73 | 96.58 | 31 | 15.8175 | 119.48 | 89.2
495 | 10 | 36 | 48836.6253 | 9604.2342 | 6038.5266 | 2310.4403 | 79.29 | 97.09 | 48 | 15.3071 | 120.47 | 90.1
496 | 10 | 37 | 48685.8082 | 9786.7239 | 5946.3558 | 2213.8246 | 70.66 | 81.52 | 22 | 7.9723 | 93.02 | 88.69
497 | 10 | 38 | 48495.3866 | 10119.9906 | 5932.299 | 2330.3919 | 87.74 | 112.13 | 42 | 24.6898 | 147.08 | 90.46
498 | 10 | 39 | 48781.4605 | 9786.7239 | 6020.7487 | 2310.4403 | 74.85 | 89.57 | 37 | 11.4908 | 107.21 | 89.67
499 | 10 | 40 | 48762.2056 | 9786.7239 | 6004.7479 | 2310.4403 | 83.44 | 102.44 | 46 | 19.2981 | 128.59 | 87.78
500 | 10 | 41 | 48710.5793 | 10134.9937 | 5968.6948 | 2438.5515 | 76.23 | 92.41 | 36 | 12.5639 | 114.93 | 92.89
501 | 10 | 42 | 48492.3759 | 9604.2342 | 5912.4636 | 1939.3474 | 75.71 | 90.02 | 34 | 12.8065 | 106.68 | 86.61
502 | 10 | 43 | 48559.1774 | 9547.4863 | 5902.0023 | 2281.6256 | 79.96 | 97.68 | 49 | 16.1852 | 121.57 | 88.49
503 | 10 | 44 | 48380.9357 | 9786.7239 | 5866.8226 | 2042.7755 | 74.39 | 90.09 | 35 | 12.2805 | 109.47 | 90.23
504 | 10 | 45 | 48913.292 | 9786.7239 | 6072.4825 | 2042.7755 | 72.14 | 84.94 | 43 | 7.9593 | 98.86 | 90.32
505 | 10 | 46 | 48769.9639 | 10091.6493 | 6002.1868 | 2422.9222 | 89.28 | 112.64 | 54 | 24.945 | 143.67 | 84.62
506 | 10 | 47 | 48945.8124 | 10119.9906 | 6109.8517 | 2330.3919 | 81.87 | 101.21 | 42 | 17.2609 | 127.32 | 90.83
507 | 10 | 48 | 48662.5083 | 9425.2074 | 5994.4974 | 2310.4403 | 77.54 | 93.53 | 47 | 13.7775 | 113.66 | 88.03
508 | 10 | 49 | 48630.3572 | 10134.9937 | 6134.7075 | 2505.0334 | 96.94 | 126.96 | 62 | 32.3573 | 169.98 | 89.27
509 | 10 | 50 | 49214.4853 | 10119.9906 | 6130.0016 | 2422.9222 | 102.64 | 135.85 | 73 | 37.0473 | 184.72 | 89.04
510 | 10 | 51 | 49058.7328 | 9865.6354 | 5908.8604 | 2236.347 | 77.63 | 93.77 | 45 | 14.0369 | 115.58 | 91.54
511 | 11 | 1 | 48452.6107 | 9309.4859 | 5917.1561 | 1900.3836 | 66.07 | 75.68 | 18 | 3.5697 | 85.36 | 92.71
512 | 11 | 2 | 48203.269 | 9604.2342 | 5879.2401 | 2112.1264 | 75 | 91.32 | 35 | 13.6436 | 111.48 | 90.45
513 | 11 | 3 | 48666.8567 | 9786.7239 | 6014.2134 | 2176.7889 | 82.25 | 102.08 | 52 | 19.106 | 128.8 | 88.49
514 | 11 | 4 | 48949.6352 | 9786.7239 | 6041.1143 | 2176.7889 | 79.07 | 95.64 | 54 | 15.218 | 115.77 | 87.46
515 | 11 | 5 | 48687.2957 | 9604.2342 | 5967.9301 | 2250.4553 | 70.57 | 82.82 | 27 | 8.1042 | 96.5 | 90.74
516 | 11 | 6 | 48704.0554 | 9429.6672 | 6005.0198 | 2310.4403 | 68.5 | 78.75 | 30 | 5.5232 | 88.18 | 89.11
517 | 11 | 7 | 48909.4456 | 9786.7239 | 6050.1751 | 2310.4403 | 71.09 | 83.07 | 24 | 7.5371 | 96.71 | 90.8
518 | 11 | 8 | 48890.7974 | 10119.9906 | 6026.7901 | 2330.3919 | 83.73 | 105.08 | 43 | 20.017 | 135.61 | 93.44
519 | 11 | 9 | 48551.3478 | 10134.9937 | 5987.9259 | 2438.5515 | 81.66 | 102.09 | 35 | 18.6328 | 131.27 | 92.93
520 | 11 | 10 | 49095.7103 | 10119.9906 | 6123.1407 | 2330.3919 | 76.09 | 92.23 | 34 | 12.7059 | 112.88 | 92.11
521 | 11 | 11 | 48490.5488 | 9786.7239 | 5940.7971 | 2310.4403 | 78.11 | 94.69 | 43 | 15.0409 | 116.91 | 90.23
522 | 11 | 12 | 48637.4621 | 9786.7239 | 6030.2381 | 2369.0391 | 76.73 | 92.38 | 41 | 13.3679 | 112.19 | 88.83
523 | 11 | 13 | 48586.7425 | 9667.6522 | 5968.145 | 2213.8246 | 70.11 | 81.95 | 30 | 7.4797 | 94.67 | 90.48
524 | 11 | 14 | 48703.8294 | 9786.7239 | 5977.09 | 2007.6047 | 76.27 | 91.25 | 43 | 13.4824 | 110 | 87.9
525 | 11 | 15 | 48864.9736 | 10119.9906 | 6042.6605 | 2330.3919 | 76.52 | 93.1 | 40 | 13.4278 | 113.5 | 90.52
526 | 11 | 16 | 48871.6047 | 10119.9906 | 6089.763 | 2330.3919 | 81.23 | 101.1 | 34 | 17.8558 | 127.77 | 91.86
527 | 11 | 17 | 48898.0365 | 10119.9906 | 6012.7593 | 2330.3919 | 76.28 | 93.33 | 28 | 13.4494 | 115.05 | 91.85
528 | 11 | 18 | 48654.2608 | 9487.3302 | 5968.8069 | 2176.7889 | 79.46 | 95.8 | 45 | 16.3662 | 117.43 | 87.16
529 | 11 | 19 | 48568.9208 | 9604.2342 | 5913.8461 | 1992.1845 | 69.12 | 80.86 | 28 | 6.7373 | 92.8 | 90.6
530 | 11 | 20 | 48736.3581 | 9604.2342 | 6008.7456 | 2176.7889 | 76.55 | 93.44 | 38 | 13.4496 | 114.53 | 91.17
531 | 11 | 21 | 48705.4936 | 10091.6493 | 6001.9375 | 2422.9222 | 77.37 | 93.38 | 36 | 13.3693 | 115.6 | 92.17
532 | 11 | 22 | 48711.7799 | 10024.5982 | 5994.5482 | 2165.5707 | 72.78 | 87.55 | 25 | 10.3279 | 104.95 | 92.03
533 | 11 | 23 | 48580.4737 | 9786.7239 | 5966.1537 | 2176.7889 | 67.64 | 78.87 | 18 | 5.336 | 91.45 | 92.96
534 | 11 | 24 | 48587.1504 | 9514.8145 | 5895.9757 | 2310.4403 | 73.84 | 88.63 | 26 | 11.8172 | 107.06 | 89.5
535 | 11 | 25 | 48554.0526 | 9786.7239 | 5942.3565 | 2310.4403 | 70.86 | 83.43 | 26 | 7.9875 | 98.09 | 91.97
536 | 11 | 26 | 48762.7746 | 10119.9906 | 6020.1708 | 2422.9222 | 83.12 | 105.48 | 44 | 20.1808 | 137.96 | 95.5
537 | 11 | 27 | 48576.8516 | 10024.5982 | 5911.916 | 2176.7889 | 79.56 | 97.56 | 34 | 16.6503 | 122.15 | 91.4
538 | 11 | 28 | 48953.1611 | 10119.9906 | 6135.2142 | 2422.9222 | 96.5 | 125.12 | 79 | 31.3016 | 166.61 | 90.85
539 | 11 | 29 | 48443.1778 | 10134.9937 | 5931.8849 | 2438.5515 | 76.71 | 94.04 | 26 | 14.6587 | 118.98 | 94.14
540 | 11 | 30 | 48210.8177 | 9379.5742 | 5840.0056 | 2176.7889 | 75.97 | 90.65 | 39 | 13.9186 | 108.33 | 85.25
541 | 11 | 31 | 48391.1388 | 9480.3728 | 5880.9263 | 2250.4553 | 74.79 | 89.59 | 29 | 11.9871 | 107.99 | 89.31
542 | 11 | 32 | 48917.8711 | 10119.9906 | 6041.5316 | 2330.3919 | 87.76 | 112.85 | 57 | 24.353 | 148.08 | 92.51
543 | 11 | 33 | 48587.5206 | 9786.7239 | 5936.9964 | 2281.6256 | 74.7 | 89.53 | 36 | 11.788 | 106.43 | 88.6
544 | 11 | 34 | 48638.6358 | 10119.9906 | 5986.4318 | 2369.0391 | 82.18 | 102.98 | 35 | 19.066 | 132.84 | 92.88
545 | 11 | 35 | 48705.0514 | 10022.8558 | 5957.1072 | 2248.7401 | 78.82 | 97.2 | 47 | 15.7032 | 121.22 | 90.79
546 | 11 | 36 | 48836.6253 | 9604.2342 | 6038.5266 | 2310.4403 | 74.64 | 89.53 | 37 | 11.1021 | 107.75 | 90.48
547 | 11 | 37 | 48685.8082 | 9786.7239 | 5946.3558 | 2213.8246 | 74.57 | 88.24 | 38 | 11.5908 | 102.71 | 85.9
548 | 11 | 38 | 48495.3866 | 10119.9906 | 5932.299 | 2330.3919 | 80.73 | 100.56 | 49 | 17.6082 | 127.72 | 92.12
549 | 11 | 39 | 48781.4605 | 9786.7239 | 6020.7487 | 2310.4403 | 68.57 | 79.64 | 30 | 5.3873 | 90.86 | 90.99
550 | 11 | 40 | 48762.2056 | 9786.7239 | 6004.7479 | 2310.4403 | 80.62 | 98.45 | 45 | 16.5353 | 120.54 | 87.38
551 | 11 | 41 | 48710.5793 | 10134.9937 | 5968.6948 | 2438.5515 | 76.18 | 92.33 | 33 | 12.849 | 115.53 | 93.66
552 | 11 | 42 | 48492.3759 | 9604.2342 | 5912.4636 | 1939.3474 | 73.34 | 87.03 | 37 | 10.6397 | 102.17 | 87.84
553 | 11 | 43 | 48559.1774 | 9547.4863 | 5902.0023 | 2281.6256 | 83.89 | 104.12 | 55 | 20.296 | 131.38 | 86.49
554 | 11 | 44 | 48380.9357 | 9786.7239 | 5866.8226 | 2042.7755 | 77.98 | 95.58 | 33 | 16.0254 | 117.45 | 87.42
555 | 11 | 45 | 48913.292 | 9786.7239 | 6072.4825 | 2042.7755 | 74.35 | 88.28 | 35 | 10.2795 | 103.58 | 88.15
556 | 11 | 46 | 48769.9639 | 10091.6493 | 6002.1868 | 2422.9222 | 83.74 | 103.98 | 64 | 19.3708 | 131.99 | 88.57
557 | 11 | 47 | 48945.8124 | 10119.9906 | 6109.8517 | 2330.3919 | 79.93 | 98.28 | 47 | 15.1128 | 122.35 | 91.17
558 | 11 | 48 | 48662.5083 | 9425.2074 | 5994.4974 | 2310.4403 | 81.94 | 99.21 | 52 | 18.0567 | 120.2 | 82.71
559 | 11 | 49 | 48630.3572 | 10134.9937 | 6134.7075 | 2505.0334 | 87.19 | 110.83 | 57 | 23.0134 | 144.19 | 91.28
560 | 11 | 50 | 49214.4853 | 10119.9906 | 6130.0016 | 2422.9222 | 98.36 | 128.93 | 70 | 32.9053 | 174.76 | 90.97
561 | 11 | 51 | 49058.7328 | 9865.6354 | 5908.8604 | 2236.347 | 79.31 | 95.84 | 50 | 15.6707 | 118.32 | 89.02