## Notes
Notes
Simulation number |  | The sequential simulation identifier of each annual simulation - numbered between 1 and 561. Each simulation is modelled at the hourly resolution level - giving 8,760 hourly simulated outputs.
Unplanned outage set |  | Identifier of the hourly unplanned outage set used in the given simulation - numbered between 1 and 11. A stochastic availability model is used to develop the 11 annual simulations of hourly dispatchable power station availability.
Weather set |  | Identifier of the hourly demand and renewable energy resources trace set used in the given simulation - numbered between 1 and 51. A stochastic demand and renewable energy resource model is used to develop 51 weather influenced annual simulations of hourly demand (system and customer load) and renewable energy resource traces.
Energy and demand (as generated) | Annual regional energy (GWh) | The annual regional scheduled and semi-scheduled energy requirements for the given region and given weather set - taken as the sum of the 8,760 hourly simulated regional loads.
| Annual regional peak demand (MW) | The annual regional scheduled and semi-scheduled maximum demand for the given region and given weather set.
| Annual energy - NSLP + Small interval meter load (GWh) | The annual energy requirements for the given NSLP + Small interval meter load and given weather set.
| Annual peak demand - NSLP + Small interval meter load (MW) | The annual peak demand for the given NSLP + Small interval meter load and given weather set.
Spot Price (nominal at the regional reference node) | Annual regional time weighted spot price ($/MWh) | The simple average of the hourly simulated spot prices for the given region and simulation number.
| Annual regional load weighted spot price ($/MWh) | The load weighted average of the hourly simulated spot prices for the given region and simulation number - using the corresponding hourly regional loads as the weights.
| Number of hours spot prices above $300 | The number of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Contribution of spot prices above $300 to annual average spot price ($/MWh) | The contribution to the annual time weighted spot price of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Annual load weighted spot price - NSLP + Small interval meter load ($/MWh) | The load weighted average of the hourly simulated spot prices for the given NSLP + Small interval meter load and simulation number - using the corresponding hourly NSLP loads as the weights.
Hedged price (nominal at the regional reference node) | Annual hedged price - NSLP + Small interval meter load ($/MWh) | Sum of the hourly spot purchase costs, contract purchase costs (adopting a fixed quarterly hedging strategy and estimated contract prices), and hedge difference payments, divided by the annual energy to derive a price in $/MWh terms for a given NSLP + Small interval meter load and simulation number.

## Data
Summary of results for 563 market simulations for 2024-25 - Queensland
Simulation number | Unplanned outage set | Weather set | Energy and demand (as generated) |  |  |  | Spot Price (nominal at the regional reference node) |  |  |  |  | Hedged price (nominal at the regional reference node)
|  |  | Annual regional energy (GWh) | Annual regional peak demand (MW) | Annual energy - Energex NSLP + Small interval meter load(GWh) | Annual peak demand - Energex NSLP + Small interval meter load (MW) | Annual regional time weighted spot price ($/MWh) | Annual regional Load weighted spot price ($/MWh) | Number of hours spot prices above $300 | Contribution of spot prices above $300 to annual average spot price ($/MWh) | Annual load weighted spot price - Energex NSLP + Small interval meter load ($/MWh) | Annual hedged price - Energex NSLP + Small interval meter load ($/MWh)
1 | 1 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 76.2 | 87.91 | 87 | 7.2055 | 112.12 | 165.55
2 | 1 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 75.6 | 86.45 | 90 | 9.6464 | 111.94 | 164.06
3 | 1 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 84.83 | 100.37 | 97 | 16.557 | 136.21 | 161.63
4 | 1 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 75.49 | 85.4 | 50 | 6.1691 | 103.34 | 157.2
5 | 1 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 76.69 | 88.55 | 67 | 10.6015 | 116.36 | 164.56
6 | 1 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 82.57 | 96.83 | 63 | 12.8193 | 127.55 | 161.13
7 | 1 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 78.87 | 89.83 | 71 | 7.7925 | 112.5 | 160.01
8 | 1 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 88.57 | 106.69 | 103 | 18.0008 | 146.76 | 161.31
9 | 1 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 89.73 | 105.33 | 125 | 18.1146 | 139.97 | 158.58
10 | 1 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 84.9 | 99.88 | 75 | 14.8845 | 132.6 | 157.29
11 | 1 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 85.19 | 100.76 | 93 | 17.8818 | 137.21 | 159.81
12 | 1 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 78.93 | 90.26 | 66 | 10.0166 | 115.33 | 161.32
13 | 1 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 91.77 | 109.21 | 114 | 20.4281 | 147.2 | 155.15
14 | 1 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 72.54 | 82.54 | 59 | 8.2304 | 106.43 | 164.31
15 | 1 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 77.96 | 88.14 | 77 | 7.8427 | 109.69 | 159.35
16 | 1 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 95.37 | 116.43 | 95 | 24.8939 | 162.22 | 159.73
17 | 1 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 87.3 | 105.01 | 84 | 17.4753 | 144.06 | 161.18
18 | 1 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 78.03 | 90.17 | 87 | 10.015 | 116.75 | 162
19 | 1 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 75.65 | 87.12 | 56 | 8.0586 | 109.35 | 160.72
20 | 1 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 78.93 | 91.57 | 89 | 10.8393 | 119.82 | 162.78
21 | 1 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 87.99 | 106.02 | 77 | 17.3185 | 143 | 159.75
22 | 1 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 77.53 | 89.86 | 58 | 9.3742 | 115.49 | 162.06
23 | 1 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 79.17 | 91.29 | 65 | 11.0564 | 118.62 | 161.91
24 | 1 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 73.89 | 84.39 | 53 | 7.5904 | 105.28 | 159.87
25 | 1 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 70.49 | 79.35 | 54 | 3.9327 | 98.1 | 165.68
26 | 1 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 79.99 | 93.35 | 83 | 12.9 | 124.03 | 161.02
27 | 1 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 76.84 | 88.17 | 55 | 9.6873 | 114.62 | 164.63
28 | 1 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 105.26 | 131.94 | 126 | 33.4767 | 189.67 | 163.77
29 | 1 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 97.1 | 122.28 | 94 | 27.9719 | 182.56 | 167.48
30 | 1 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 72.46 | 82.23 | 38 | 4.2154 | 100.96 | 162.71
31 | 1 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 75.79 | 87.54 | 58 | 7.2797 | 111.03 | 163.28
32 | 1 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 92.9 | 114.8 | 91 | 23.9382 | 165.13 | 162.66
33 | 1 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 70.79 | 79.47 | 59 | 3.9131 | 96.24 | 162
34 | 1 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 105.13 | 134.9 | 114 | 34.5223 | 198.88 | 159.3
35 | 1 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 82.43 | 96.58 | 87 | 14.1939 | 128.87 | 160.8
36 | 1 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 85.19 | 101.52 | 107 | 14.4798 | 135.48 | 163.17
37 | 1 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 86.64 | 104.69 | 57 | 19.174 | 145.54 | 158.85
38 | 1 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 77.16 | 89.37 | 94 | 9.5078 | 117.47 | 166
39 | 1 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 81.53 | 94.49 | 98 | 12.0949 | 121.94 | 159.82
40 | 1 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 84.1 | 100.2 | 85 | 14.8216 | 133.7 | 159.21
41 | 1 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 82.83 | 96.92 | 71 | 13.1257 | 126.12 | 157.49
42 | 1 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 75.34 | 85.9 | 67 | 8.7628 | 108.61 | 159.65
43 | 1 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 99.94 | 125.11 | 104 | 29.5945 | 179.77 | 155.03
44 | 1 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 95 | 119.62 | 86 | 27.2418 | 175.74 | 161.32
45 | 1 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 87.43 | 105.09 | 80 | 16.9494 | 141.53 | 157.43
46 | 1 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 83.95 | 98.79 | 102 | 14.5549 | 131.83 | 162.28
47 | 1 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 97.68 | 120.25 | 109 | 24.7948 | 167.92 | 160.85
48 | 1 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 98.15 | 123.26 | 112 | 27.6222 | 177.65 | 163.15
49 | 1 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 106.2 | 134.51 | 119 | 34.1857 | 196.97 | 158.69
50 | 1 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 92.27 | 113.08 | 98 | 21.752 | 155.59 | 156.54
51 | 1 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 79.59 | 92.95 | 63 | 11.2741 | 120.9 | 160.28
52 | 1 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 97.13 | 121.95 | 97 | 26.6398 | 172.63 | 159.34
53 | 1 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 116.14 | 150.56 | 136 | 45.2501 | 227.25 | 154.51
54 | 2 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 88.53 | 105.94 | 101 | 19.6513 | 145.89 | 163.72
55 | 2 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 80.33 | 93.28 | 75 | 14.4913 | 125.29 | 162.6
56 | 2 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 89.38 | 105.57 | 103 | 20.9226 | 143.46 | 157.63
57 | 2 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 76.25 | 85.35 | 46 | 7.0312 | 104.93 | 159.77
58 | 2 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 83.37 | 98.28 | 69 | 16.7597 | 134.4 | 162.95
59 | 2 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 83.9 | 99.28 | 91 | 14.0699 | 132.39 | 161.49
60 | 2 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 91.74 | 106.55 | 78 | 20.3462 | 139.59 | 151.94
61 | 2 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 95.25 | 114.14 | 109 | 24.7598 | 159.64 | 161.88
62 | 2 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 87.04 | 100.54 | 115 | 15.2565 | 129.69 | 157.24
63 | 2 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 86.41 | 101.1 | 82 | 16.4859 | 135.34 | 159.03
64 | 2 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 83.23 | 98.57 | 81 | 15.4649 | 134.34 | 163.08
65 | 2 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 81.57 | 93.79 | 96 | 12.318 | 121.09 | 160.67
66 | 2 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 90.21 | 105.28 | 106 | 18.7831 | 139.83 | 159.08
67 | 2 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 71.43 | 80.71 | 61 | 7.2891 | 102.13 | 163.01
68 | 2 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 93.85 | 111.29 | 83 | 23.7578 | 154.81 | 159.37
69 | 2 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 91.88 | 109.72 | 70 | 21.869 | 147.67 | 158.26
70 | 2 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 88.89 | 105.26 | 109 | 18.5694 | 142.5 | 159.05
71 | 2 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 87.04 | 102.94 | 91 | 19.1921 | 139.53 | 156.59
72 | 2 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 77.38 | 89.14 | 65 | 9.4675 | 114.52 | 162.73
73 | 2 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 88.2 | 104.47 | 104 | 19.9543 | 143.33 | 161.87
74 | 2 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 90.47 | 108.68 | 93 | 19.3416 | 146.7 | 159.61
75 | 2 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 79.35 | 92.42 | 74 | 11.0949 | 120.76 | 161.38
76 | 2 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 78.79 | 90.57 | 68 | 10.236 | 116.11 | 160.32
77 | 2 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 74.22 | 85.2 | 56 | 7.7011 | 107.15 | 161.58
78 | 2 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 74.17 | 84.23 | 71 | 8.3409 | 106.9 | 162.53
79 | 2 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 82.99 | 97.45 | 89 | 15.8106 | 132.39 | 162.26
80 | 2 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 76.58 | 87.75 | 54 | 9.9729 | 113.7 | 163.93
81 | 2 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 97.21 | 118.51 | 135 | 24.8136 | 165.64 | 164.58
82 | 2 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 97.42 | 120.14 | 92 | 28.5688 | 176.71 | 165.86
83 | 2 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 80.27 | 92.92 | 57 | 11.7326 | 119.95 | 160.43
84 | 2 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 79.91 | 93.85 | 103 | 10.6683 | 123.05 | 163.45
85 | 2 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 94.08 | 115.89 | 108 | 25.7147 | 165.64 | 161.23
86 | 2 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 73.54 | 84.15 | 55 | 6.5046 | 106.79 | 162.77
87 | 2 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 92.54 | 112.62 | 114 | 22.0824 | 156.06 | 158.59
88 | 2 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 83.92 | 98.35 | 101 | 15.7917 | 130.89 | 157.81
89 | 2 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 93.01 | 114.09 | 92 | 22.2449 | 159.16 | 164.23
90 | 2 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 78.93 | 91.54 | 65 | 11.2921 | 120.05 | 161.79
91 | 2 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 80.98 | 92.82 | 89 | 13.2437 | 120.86 | 162.46
92 | 2 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 79.56 | 92.54 | 76 | 10.6499 | 119.56 | 160.62
93 | 2 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 89.93 | 107.59 | 82 | 20.8622 | 148.3 | 161.6
94 | 2 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 83.82 | 97.03 | 77 | 13.5006 | 126.51 | 160.52
95 | 2 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 74.8 | 85.24 | 59 | 8.1178 | 107.87 | 160.15
96 | 2 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 102.79 | 127.23 | 125 | 31.8203 | 184.67 | 162.39
97 | 2 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 89.23 | 109.95 | 80 | 21.1605 | 156.67 | 162.53
98 | 2 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 84.46 | 100.77 | 81 | 14.4744 | 133.84 | 157.15
99 | 2 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 92.62 | 112.77 | 86 | 23.5141 | 159.87 | 163.43
100 | 2 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 100.73 | 125.65 | 106 | 27.7047 | 177.31 | 158.46
101 | 2 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 98.58 | 122.17 | 123 | 28.0419 | 174.41 | 159.29
102 | 2 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 101.89 | 126.91 | 141 | 30.2727 | 182.43 | 159.43
103 | 2 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 85.68 | 103.01 | 95 | 15.0259 | 139.15 | 161.3
104 | 2 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 90.18 | 109.79 | 79 | 21.6295 | 156.09 | 163
105 | 2 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 86.73 | 103.53 | 76 | 16.1649 | 139.69 | 162.85
106 | 2 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 111.67 | 146.29 | 117 | 40.9461 | 225.35 | 164.14
107 | 3 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 80.09 | 93.27 | 97 | 11.5011 | 121.83 | 163.43
108 | 3 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 75.04 | 85.43 | 81 | 9.0328 | 110.03 | 164.67
109 | 3 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 82.43 | 96.01 | 87 | 14.2495 | 126.89 | 160.22
110 | 3 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 71.34 | 78.74 | 17 | 2.6895 | 93.67 | 160.62
111 | 3 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 83.86 | 98.5 | 78 | 17.5091 | 134.78 | 163.68
112 | 3 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 79.4 | 91.77 | 77 | 9.5994 | 117.61 | 162.42
113 | 3 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 84.43 | 96.82 | 101 | 12.7581 | 123.49 | 158.13
114 | 3 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 100.93 | 124.15 | 108 | 29.8336 | 179.35 | 162.23
115 | 3 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 87.25 | 102.4 | 123 | 15.7957 | 133.72 | 156.65
116 | 3 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 87.99 | 103.47 | 84 | 17.6855 | 137.76 | 154.52
117 | 3 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 91.79 | 111.04 | 72 | 24.4117 | 159.17 | 162.55
118 | 3 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 78.61 | 89.65 | 79 | 9.4426 | 113.69 | 161.02
119 | 3 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 86.7 | 101.08 | 97 | 15.4141 | 132.58 | 159.65
120 | 3 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 66.68 | 74.32 | 62 | 2.5653 | 90.08 | 163.72
121 | 3 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 83.01 | 94.86 | 90 | 13.205 | 122.98 | 159.54
122 | 3 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 84.48 | 100.05 | 80 | 14.5015 | 133.47 | 161.64
123 | 3 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 90.78 | 111.89 | 112 | 20.603 | 158.2 | 163.57
124 | 3 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 78.55 | 89.95 | 83 | 10.4668 | 116.21 | 161.12
125 | 3 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 77.7 | 89.87 | 50 | 10.1555 | 116.96 | 162.25
126 | 3 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 76.89 | 88.96 | 106 | 8.8312 | 114.69 | 163.2
127 | 3 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 87.84 | 104.86 | 102 | 16.4565 | 140.26 | 161.84
128 | 3 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 77.84 | 90.06 | 74 | 9.58 | 114.98 | 161.26
129 | 3 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 88.05 | 106.89 | 68 | 19.8065 | 150.06 | 162.8
130 | 3 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 77.89 | 91.91 | 51 | 11.292 | 121.31 | 162.17
131 | 3 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 74.1 | 84.89 | 71 | 7.2646 | 108.66 | 164.7
132 | 3 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 88.23 | 107.96 | 78 | 20.868 | 155.02 | 163.96
133 | 3 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 72.37 | 81.6 | 65 | 5.3619 | 101.63 | 165.11
134 | 3 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 114.34 | 147.43 | 133 | 41.7114 | 219.33 | 163.19
135 | 3 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 102.31 | 127.9 | 103 | 32.891 | 190.51 | 161.22
136 | 3 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 73.91 | 83.28 | 46 | 5.3922 | 103.42 | 164.18
137 | 3 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 80.29 | 94.93 | 70 | 11.464 | 125.68 | 165.17
138 | 3 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 96.9 | 119.97 | 119 | 28.8771 | 174.38 | 160.68
139 | 3 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 75.42 | 86.43 | 55 | 8.6143 | 109.88 | 160.57
140 | 3 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 102.03 | 130.94 | 118 | 31.5755 | 192.68 | 162.4
141 | 3 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 90.29 | 110.8 | 94 | 22.07 | 157.87 | 162.21
142 | 3 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 86.52 | 102.93 | 103 | 15.4881 | 136.15 | 162.63
143 | 3 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 88.95 | 106.34 | 72 | 21.255 | 147.23 | 156.17
144 | 3 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 78.21 | 90.96 | 90 | 10.8041 | 121.94 | 166.93
145 | 3 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 85.21 | 101.71 | 89 | 16.0159 | 135.35 | 157.39
146 | 3 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 83.15 | 98.41 | 95 | 13.4724 | 131.79 | 163.22
147 | 3 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 89.25 | 105.29 | 78 | 19.0477 | 142.25 | 159.71
148 | 3 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 76.19 | 87.6 | 61 | 9.3879 | 111.89 | 159.52
149 | 3 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 107.66 | 135.97 | 124 | 37.3086 | 200.09 | 154.93
150 | 3 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 91.55 | 113.18 | 66 | 23.5135 | 161.63 | 159.58
151 | 3 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 83.03 | 98.32 | 81 | 12.9049 | 128.96 | 157.9
152 | 3 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 77.4 | 89.32 | 63 | 8.3318 | 115.1 | 163.59
153 | 3 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 106.97 | 134.21 | 145 | 33.5231 | 191.16 | 156.46
154 | 3 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 106.68 | 135.54 | 118 | 36.2369 | 200.94 | 159.51
155 | 3 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 110.98 | 142.55 | 138 | 39.2586 | 212.38 | 156.52
156 | 3 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 91.2 | 110.94 | 112 | 20.5466 | 152.41 | 156.7
157 | 3 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 82.74 | 98.15 | 76 | 14.3709 | 131.8 | 161.33
158 | 3 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 85.14 | 100.87 | 120 | 13.8666 | 133.99 | 163.01
159 | 3 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 115.99 | 153.1 | 125 | 45.2671 | 236.8 | 161.01
160 | 4 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 86.01 | 101.6 | 96 | 17.6259 | 136.66 | 160.31
161 | 4 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 78.96 | 91.78 | 85 | 13.4358 | 123.82 | 164.49
162 | 4 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 88.51 | 107.23 | 101 | 20.8205 | 150.4 | 160.62
163 | 4 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 76.24 | 84.78 | 49 | 7.2524 | 101.91 | 155.9
164 | 4 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 80.65 | 93.39 | 71 | 14.689 | 126.18 | 166.03
165 | 4 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 76.14 | 86.75 | 76 | 6.6603 | 108.93 | 161.86
166 | 4 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 80.77 | 91.75 | 76 | 9.6851 | 115.45 | 158.92
167 | 4 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 91.49 | 108.81 | 105 | 21.1629 | 149.47 | 160.63
168 | 4 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 86.17 | 99.78 | 117 | 15.122 | 128.67 | 156.24
169 | 4 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 82.13 | 95.31 | 51 | 12.8499 | 124.11 | 156.85
170 | 4 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 88.26 | 106.14 | 88 | 20.7286 | 147.48 | 162.2
171 | 4 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 80.38 | 92.96 | 69 | 11.7967 | 121.87 | 163.09
172 | 4 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 83.56 | 95.93 | 86 | 12.3247 | 123.56 | 160.72
173 | 4 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 73.18 | 83.18 | 64 | 9.0067 | 107.05 | 162.95
174 | 4 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 82.44 | 94.5 | 71 | 12.625 | 122.91 | 159.76
175 | 4 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 89.89 | 107.48 | 63 | 19.986 | 146.93 | 162.67
176 | 4 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 84.12 | 99.37 | 77 | 14.2853 | 133.29 | 161.52
177 | 4 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 78.84 | 91.34 | 82 | 11.0103 | 119.05 | 160.57
178 | 4 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 76.3 | 87.5 | 61 | 8.8333 | 110.73 | 161.57
179 | 4 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 79.2 | 92.15 | 92 | 11.5273 | 121.71 | 163.45
180 | 4 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 90.53 | 108.24 | 100 | 19.7596 | 146.2 | 159.01
181 | 4 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 76.9 | 88.46 | 78 | 8.8423 | 112.9 | 161.58
182 | 4 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 77.02 | 87.71 | 62 | 9.0141 | 111.55 | 161.61
183 | 4 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 78.26 | 91.19 | 48 | 12.013 | 117.28 | 160.91
184 | 4 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 68.4 | 76.72 | 60 | 2.6179 | 93.56 | 164.29
185 | 4 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 85.33 | 102.35 | 73 | 18.5705 | 143.22 | 162.18
186 | 4 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 82.08 | 95.17 | 52 | 15.2574 | 129.09 | 165.24
187 | 4 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 101.18 | 123.41 | 131 | 29.0398 | 173.19 | 162.33
188 | 4 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 96.25 | 118.6 | 90 | 27.5882 | 175.64 | 168.14
189 | 4 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 79.58 | 92.95 | 54 | 11.1009 | 121.14 | 160.58
190 | 4 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 84.05 | 100.24 | 78 | 15.539 | 134.15 | 162.01
191 | 4 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 87.45 | 106.34 | 104 | 19.2927 | 147.98 | 162.9
192 | 4 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 70.46 | 79.09 | 34 | 3.8388 | 96.61 | 162.19
193 | 4 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 94.54 | 116.97 | 115 | 24.5545 | 165.58 | 161.94
194 | 4 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 85.39 | 101.66 | 85 | 17.3626 | 138.58 | 158.98
195 | 4 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 94.22 | 116.32 | 80 | 24.4542 | 164.76 | 164.51
196 | 4 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 75.64 | 87.35 | 55 | 8.4018 | 113.05 | 162.17
197 | 4 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 78.17 | 90.47 | 69 | 11.105 | 119.25 | 163.64
198 | 4 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 79.69 | 92.36 | 70 | 11.2693 | 119.92 | 160.07
199 | 4 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 79.71 | 93.14 | 73 | 11.1037 | 123.79 | 165.85
200 | 4 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 88.69 | 104.88 | 81 | 18.6091 | 139.86 | 156.74
201 | 4 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 71.47 | 79.93 | 50 | 5.01 | 97.99 | 161.81
202 | 4 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 102.67 | 127.71 | 121 | 32.3295 | 183.95 | 155.18
203 | 4 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 85.79 | 105.22 | 62 | 18.2753 | 148.54 | 163.28
204 | 4 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 81 | 95.67 | 65 | 11.8826 | 125.07 | 158.46
205 | 4 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 88.05 | 106.06 | 73 | 19.2326 | 148.46 | 164.63
206 | 4 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 92.95 | 112.63 | 107 | 20.3989 | 153.31 | 158.96
207 | 4 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 97.15 | 119.91 | 121 | 26.2975 | 170.24 | 161
208 | 4 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 97.91 | 121.78 | 117 | 26.3501 | 174.01 | 160.52
209 | 4 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 86.85 | 105.01 | 86 | 16.8024 | 142.5 | 159.63
210 | 4 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 77.32 | 89.41 | 71 | 9.3244 | 115.23 | 161
211 | 4 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 89.44 | 107.77 | 106 | 18.9233 | 146.83 | 160.88
212 | 4 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 106.65 | 136.81 | 118 | 36.1679 | 206.41 | 163.93
213 | 5 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 76.68 | 88.51 | 86 | 7.747 | 113.18 | 165.19
214 | 5 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 75.45 | 86.24 | 89 | 9.4694 | 111.49 | 164.13
215 | 5 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 84.98 | 100.64 | 99 | 16.6593 | 136.84 | 161.77
216 | 5 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 75.85 | 85.78 | 48 | 6.5396 | 104 | 156.89
217 | 5 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 77.19 | 89.12 | 68 | 11.1123 | 117.37 | 164.16
218 | 5 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 80.02 | 92.67 | 55 | 10.3334 | 119.39 | 161.16
219 | 5 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 78.83 | 89.76 | 67 | 7.7324 | 112.35 | 160
220 | 5 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 89.15 | 107.41 | 102 | 18.6632 | 147.95 | 160.85
221 | 5 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 89.87 | 105.5 | 130 | 18.2993 | 140.22 | 158.35
222 | 5 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 84.93 | 99.93 | 77 | 14.9595 | 132.71 | 157.22
223 | 5 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 86.32 | 102.47 | 94 | 18.9958 | 140.17 | 158.97
224 | 5 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 82.2 | 96.06 | 65 | 13.3177 | 127.12 | 162.07
225 | 5 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 91.93 | 109.48 | 107 | 20.7212 | 147.54 | 154.72
226 | 5 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 73.29 | 83.41 | 59 | 9.0739 | 107.84 | 163.51
227 | 5 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 77.86 | 87.98 | 76 | 7.7576 | 109.38 | 159.3
228 | 5 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 95.27 | 116.24 | 98 | 24.7796 | 161.78 | 159.66
229 | 5 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 87.26 | 104.71 | 85 | 17.5083 | 143.11 | 160.56
230 | 5 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 78.09 | 90.26 | 87 | 10.0534 | 116.89 | 162.02
231 | 5 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 75.66 | 87.14 | 56 | 8.0586 | 109.38 | 160.75
232 | 5 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 80.03 | 93.29 | 90 | 12.0293 | 122.87 | 161.89
233 | 5 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 88.08 | 106.15 | 78 | 17.3938 | 143.22 | 159.77
234 | 5 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 77.49 | 89.81 | 58 | 9.3716 | 115.41 | 162.01
235 | 5 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 79.1 | 91.21 | 65 | 11.0551 | 118.51 | 161.87
236 | 5 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 74.15 | 84.69 | 53 | 7.843 | 105.77 | 159.68
237 | 5 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 70.66 | 79.55 | 55 | 4.0615 | 98.44 | 165.63
238 | 5 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 80.61 | 94.49 | 78 | 13.5285 | 126.15 | 160.78
239 | 5 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 77.02 | 88.43 | 58 | 9.8331 | 115.03 | 164.46
240 | 5 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 105.24 | 131.91 | 127 | 33.3984 | 189.57 | 163.71
241 | 5 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 99.36 | 126.09 | 100 | 30.1568 | 189.97 | 167.6
242 | 5 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 71.39 | 80.5 | 36 | 3.2514 | 98.21 | 163.36
243 | 5 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 76.22 | 88.27 | 59 | 7.7231 | 112.54 | 163.25
244 | 5 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 91.35 | 112.08 | 94 | 22.3498 | 159.34 | 161.99
245 | 5 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 70.77 | 79.45 | 60 | 3.8731 | 96.23 | 162.11
246 | 5 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 104.53 | 133.77 | 115 | 33.766 | 196.38 | 159.2
247 | 5 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 82.2 | 96.17 | 88 | 13.9333 | 127.98 | 160.77
248 | 5 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 84.83 | 101.02 | 104 | 14.2384 | 134.69 | 163.3
249 | 5 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 86.71 | 104.78 | 57 | 19.204 | 145.7 | 158.87
250 | 5 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 78.18 | 91.14 | 96 | 10.5688 | 120.99 | 165.84
251 | 5 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 82.13 | 95.22 | 98 | 12.7609 | 123.08 | 159.26
252 | 5 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 84.43 | 100.79 | 85 | 15.2059 | 134.82 | 159.03
253 | 5 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 82.9 | 97 | 73 | 13.1308 | 126.21 | 157.51
254 | 5 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 75.37 | 85.94 | 69 | 8.7816 | 108.69 | 159.69
255 | 5 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 99.08 | 123.81 | 110 | 28.7208 | 177.27 | 155.24
256 | 5 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 94.65 | 119.09 | 87 | 26.8077 | 174.92 | 161.92
257 | 5 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 87.7 | 105.53 | 83 | 17.206 | 142.23 | 157.32
258 | 5 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 83.48 | 98.02 | 98 | 14.1927 | 130.39 | 162.12
259 | 5 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 97.47 | 120.08 | 109 | 24.6211 | 168 | 161.07
260 | 5 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 100.72 | 127.58 | 117 | 30.1624 | 186 | 163.21
261 | 5 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 104.61 | 131.98 | 120 | 32.5219 | 192.43 | 159.16
262 | 5 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 92.55 | 113.47 | 100 | 21.9529 | 156.15 | 156.43
263 | 5 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 79.64 | 93.03 | 65 | 11.2978 | 121.05 | 160.3
264 | 5 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 96.86 | 121.64 | 101 | 26.3449 | 171.87 | 159.14
265 | 5 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 115.97 | 150.23 | 137 | 45.0131 | 226.55 | 154.54
266 | 6 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 83.61 | 98.5 | 94 | 14.6778 | 131.62 | 163.43
267 | 6 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 78.47 | 90.39 | 91 | 12.0633 | 118.45 | 162.51
268 | 6 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 100.55 | 124.95 | 107 | 32.1606 | 182.64 | 157.18
269 | 6 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 83.41 | 95.05 | 61 | 14.0815 | 121.81 | 156.62
270 | 6 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 76.29 | 86.99 | 68 | 10.0222 | 112.19 | 163.07
271 | 6 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 82.75 | 96.15 | 65 | 13.4041 | 126.19 | 160.36
272 | 6 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 84.74 | 97.06 | 80 | 13.4216 | 125.3 | 159.52
273 | 6 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 85.39 | 100.18 | 103 | 14.5894 | 133.56 | 160.69
274 | 6 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 92.77 | 109.61 | 102 | 21.2274 | 147.1 | 155.58
275 | 6 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 79.55 | 91.72 | 74 | 9.7826 | 118.17 | 160.16
276 | 6 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 91.49 | 110.35 | 80 | 24.0629 | 156.92 | 160.97
277 | 6 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 83.63 | 98.38 | 78 | 14.3636 | 130.3 | 160.08
278 | 6 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 95.74 | 113.33 | 93 | 24.5271 | 155.14 | 157.53
279 | 6 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 77.55 | 88.46 | 57 | 13.2855 | 114.94 | 159.2
280 | 6 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 85.37 | 97.94 | 89 | 15.6776 | 127.72 | 157.17
281 | 6 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 89.94 | 106.24 | 90 | 19.6252 | 141.54 | 158.05
282 | 6 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 96.87 | 116.85 | 112 | 26.5311 | 164.28 | 157.39
283 | 6 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 85.13 | 99.09 | 88 | 17.5279 | 133.56 | 160.12
284 | 6 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 82.98 | 99.5 | 73 | 14.8775 | 135.15 | 161.86
285 | 6 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 89.86 | 106.65 | 101 | 21.5984 | 146.91 | 159.72
286 | 6 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 98.46 | 119.64 | 102 | 27.0912 | 165.04 | 153.92
287 | 6 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 81.05 | 94.23 | 77 | 12.835 | 122.13 | 159.53
288 | 6 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 82.28 | 95.26 | 64 | 14.357 | 125.26 | 160.25
289 | 6 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 77.61 | 89.73 | 58 | 11.2074 | 115.51 | 159.86
290 | 6 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 80.21 | 93.21 | 50 | 13.8307 | 125.23 | 164.36
291 | 6 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 84.81 | 99.47 | 84 | 18.0423 | 134.51 | 158.97
292 | 6 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 79.22 | 91.16 | 60 | 12.3286 | 120.34 | 164.33
293 | 6 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 105.07 | 130.9 | 122 | 32.5789 | 187.12 | 160.96
294 | 6 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 93 | 113.48 | 93 | 23.9569 | 163.25 | 164.95
295 | 6 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 74.77 | 85.02 | 64 | 6.459 | 105.95 | 162.06
296 | 6 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 82.39 | 97.79 | 74 | 13.9999 | 130.9 | 164.68
297 | 6 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 103.4 | 132.53 | 97 | 35.108 | 198.62 | 165.78
298 | 6 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 77.24 | 88.64 | 52 | 10.0884 | 113.35 | 159.03
299 | 6 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 89.68 | 107.99 | 96 | 18.9145 | 146.97 | 160.94
300 | 6 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 90.31 | 109.15 | 91 | 21.8673 | 152.2 | 160.49
301 | 6 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 104.52 | 133.28 | 80 | 34.4461 | 198.03 | 166.41
302 | 6 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 86.75 | 103.1 | 72 | 19.1613 | 142 | 159.06
303 | 6 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 80.35 | 93.01 | 80 | 13.0905 | 124.29 | 164.64
304 | 6 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 85.13 | 99.78 | 99 | 16.2353 | 132.68 | 159.07
305 | 6 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 88.38 | 106.01 | 90 | 18.6325 | 145.56 | 161.82
306 | 6 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 92.42 | 109.95 | 68 | 22.6399 | 148.11 | 153.05
307 | 6 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 77.59 | 88.36 | 64 | 10.8907 | 113.26 | 160.21
308 | 6 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 113.98 | 147.72 | 128 | 43.0631 | 219.88 | 152.38
309 | 6 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 95.74 | 119.22 | 67 | 27.899 | 175.03 | 162.69
310 | 6 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 91.3 | 109.48 | 59 | 21.4243 | 146.87 | 151.63
311 | 6 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 93.35 | 114.28 | 88 | 24.0574 | 163.71 | 164.81
312 | 6 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 105.59 | 132.45 | 118 | 32.7683 | 189.21 | 155.58
313 | 6 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 110.19 | 139.26 | 129 | 39.3859 | 205.38 | 157.56
314 | 6 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 127.92 | 165.37 | 166 | 55.8804 | 251.1 | 152.86
315 | 6 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 90.12 | 110.03 | 85 | 20.1434 | 150.63 | 155.94
316 | 6 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 90.01 | 109.42 | 90 | 21.3057 | 155.76 | 162.23
317 | 6 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 95.61 | 115.68 | 97 | 24.9391 | 161.56 | 160.91
318 | 6 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 100.15 | 127.82 | 102 | 29.8282 | 189.21 | 164.91
319 | 7 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 90.79 | 108.63 | 102 | 21.6501 | 149.77 | 159.63
320 | 7 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 85.33 | 100.92 | 92 | 19.157 | 140.39 | 163.27
321 | 7 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 86.49 | 102.06 | 108 | 18.357 | 137.63 | 158.56
322 | 7 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 71.22 | 78.61 | 36 | 1.9798 | 92.34 | 159.79
323 | 7 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 97.63 | 118.96 | 81 | 31.7748 | 170.47 | 150.05
324 | 7 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 83.27 | 96.93 | 57 | 13.7232 | 127.73 | 160.72
325 | 7 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 92.84 | 109.81 | 96 | 21.445 | 148.39 | 156.26
326 | 7 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 100.77 | 122.81 | 117 | 29.4649 | 175.67 | 159.5
327 | 7 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 85.39 | 98.71 | 104 | 13.9393 | 127.07 | 157.68
328 | 7 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 82.3 | 95.38 | 74 | 12.8328 | 124.05 | 157
329 | 7 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 97.25 | 119.31 | 77 | 29.2893 | 173.72 | 161.27
330 | 7 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 84.27 | 97.38 | 78 | 15.4765 | 128.75 | 161.06
331 | 7 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 83.3 | 95.37 | 107 | 11.7759 | 122.9 | 161.49
332 | 7 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 76.17 | 87.2 | 49 | 11.7566 | 114.7 | 162.88
333 | 7 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 82.42 | 93.88 | 70 | 12.3512 | 120.92 | 159.7
334 | 7 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 87.52 | 102.87 | 87 | 17.4546 | 136.15 | 159.03
335 | 7 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 96.63 | 117.8 | 107 | 26.6568 | 166.94 | 157.63
336 | 7 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 80.62 | 94.41 | 93 | 13.2365 | 126.21 | 161.7
337 | 7 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 76.52 | 88.42 | 63 | 8.4334 | 113.65 | 162.21
338 | 7 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 80.19 | 94.12 | 93 | 12.0415 | 125.59 | 164.33
339 | 7 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 94.76 | 115.94 | 95 | 23.482 | 161.23 | 159.64
340 | 7 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 77.86 | 89.88 | 70 | 9.4998 | 115.02 | 160.99
341 | 7 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 86.32 | 103.28 | 68 | 18.2945 | 141.76 | 162.06
342 | 7 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 70.53 | 79.35 | 46 | 4.2646 | 96.72 | 161.73
343 | 7 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 70.46 | 78.95 | 67 | 4.1007 | 96.58 | 163.17
344 | 7 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 88.41 | 104.71 | 72 | 21.9907 | 146.23 | 159.92
345 | 7 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 76.03 | 86.75 | 52 | 9.1117 | 112.27 | 165.31
346 | 7 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 98.22 | 120.26 | 125 | 26.2252 | 167.58 | 159.67
347 | 7 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 97.75 | 119.25 | 84 | 28.536 | 174.95 | 165.88
348 | 7 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 75.16 | 86.06 | 54 | 6.717 | 107.53 | 160.51
349 | 7 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 77.8 | 91.11 | 62 | 9.5806 | 119.32 | 165.59
350 | 7 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 95.1 | 117.64 | 91 | 27.1148 | 168.63 | 159.88
351 | 7 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 69.12 | 77.14 | 54 | 2.375 | 92.27 | 162.58
352 | 7 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 88.55 | 106.43 | 114 | 18.12 | 146.35 | 162.89
353 | 7 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 98.05 | 119.76 | 92 | 30.1277 | 172.77 | 158.45
354 | 7 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 84.7 | 101.21 | 77 | 14.2272 | 135.69 | 163.79
355 | 7 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 82.74 | 97.65 | 64 | 15.166 | 131.8 | 159.42
356 | 7 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 80.25 | 92.9 | 61 | 13.26 | 124.03 | 164.12
357 | 7 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 88.31 | 104.76 | 81 | 19.0337 | 140.71 | 156.38
358 | 7 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 83.82 | 98.27 | 74 | 14.6196 | 132.08 | 163.87
359 | 7 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 84.1 | 97.3 | 76 | 14.2129 | 126.18 | 158.56
360 | 7 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 78.63 | 89.44 | 77 | 11.1683 | 114.05 | 159.13
361 | 7 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 101.4 | 126.85 | 118 | 30.5271 | 183.61 | 157.3
362 | 7 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 86.27 | 104.48 | 72 | 18.5513 | 145.76 | 160.81
363 | 7 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 88.15 | 106.64 | 83 | 18.4621 | 144.12 | 155.39
364 | 7 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 91.35 | 110.58 | 77 | 22.2009 | 153.83 | 159.75
365 | 7 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 96.18 | 116 | 98 | 23.2735 | 158.63 | 158.25
366 | 7 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 105.15 | 131.61 | 99 | 34.3612 | 190.59 | 157.19
367 | 7 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 118.62 | 154.42 | 162 | 46.4335 | 234.41 | 155.93
368 | 7 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 93.77 | 115.67 | 103 | 23.4973 | 161.97 | 156.93
369 | 7 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 84.43 | 100.13 | 77 | 16.0501 | 137.44 | 163.84
370 | 7 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 87.97 | 105.75 | 87 | 17.1403 | 144.99 | 163.67
371 | 7 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 102.16 | 130.8 | 106 | 31.5218 | 194.39 | 163.4
372 | 8 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 84.44 | 99.17 | 89 | 15.2953 | 132.84 | 162.45
373 | 8 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 75.6 | 86.76 | 85 | 9.7223 | 112.13 | 162.86
374 | 8 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 81.28 | 95.14 | 75 | 13.3101 | 126.23 | 162.49
375 | 8 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 72.26 | 79.6 | 41 | 3.0001 | 93.8 | 159.35
376 | 8 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 78.61 | 91.19 | 75 | 12.0312 | 120.57 | 163.36
377 | 8 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 83.17 | 97.38 | 76 | 13.6148 | 128.82 | 161.43
378 | 8 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 86.57 | 101.45 | 97 | 14.7588 | 133 | 158
379 | 8 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 90.37 | 108.83 | 120 | 19.2885 | 148.83 | 159.32
380 | 8 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 89.94 | 104.76 | 109 | 17.9941 | 138.85 | 158.94
381 | 8 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 79.51 | 91.23 | 76 | 9.3517 | 116.48 | 159.44
382 | 8 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 86.34 | 103.18 | 83 | 18.1369 | 141.38 | 159.94
383 | 8 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 80.78 | 92.78 | 65 | 11.5473 | 118.94 | 159.37
384 | 8 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 90.26 | 105.93 | 105 | 18.9506 | 142.04 | 158.75
385 | 8 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 75.68 | 86.65 | 72 | 11.0624 | 114.02 | 164.47
386 | 8 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 82.95 | 94.32 | 85 | 12.8004 | 122.4 | 160.34
387 | 8 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 86.91 | 104.26 | 95 | 16.7716 | 141.18 | 163.5
388 | 8 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 92.89 | 112.66 | 98 | 22.5852 | 156.27 | 157.8
389 | 8 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 89.71 | 107.9 | 83 | 22.0543 | 152.55 | 161.71
390 | 8 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 73.14 | 83.28 | 41 | 5.242 | 102.59 | 162.08
391 | 8 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 84.44 | 99.8 | 96 | 16.0244 | 135.17 | 161.86
392 | 8 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 88.13 | 105.15 | 76 | 16.6279 | 140.88 | 160.84
393 | 8 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 82.21 | 96.1 | 71 | 14.1665 | 127.42 | 161.93
394 | 8 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 89.25 | 109.1 | 78 | 20.7673 | 153.02 | 160.52
395 | 8 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 83.72 | 100.38 | 66 | 17.104 | 136.44 | 158.34
396 | 8 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 75.09 | 86.63 | 56 | 8.4903 | 112.55 | 164.52
397 | 8 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 89.34 | 109.84 | 96 | 22.1824 | 158.13 | 163.7
398 | 8 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 72.27 | 81.72 | 48 | 5.4017 | 102.51 | 165.67
399 | 8 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 105.9 | 133.03 | 120 | 33.4593 | 194.18 | 163.19
400 | 8 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 88.22 | 106.63 | 88 | 18.7479 | 150.78 | 167.5
401 | 8 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 75.33 | 86.14 | 48 | 6.5715 | 108.03 | 162.78
402 | 8 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 76.58 | 88.79 | 62 | 7.9456 | 113.5 | 163.89
403 | 8 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 93.78 | 116.25 | 88 | 25.6588 | 167.44 | 162.51
404 | 8 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 76 | 88.17 | 52 | 9.0171 | 114.74 | 162.26
405 | 8 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 92.26 | 114.11 | 100 | 21.3211 | 158.93 | 162.05
406 | 8 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 82.66 | 97.68 | 68 | 14.5918 | 131.87 | 162.22
407 | 8 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 90.48 | 109.41 | 105 | 19.7164 | 150.07 | 163.91
408 | 8 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 76.36 | 88.88 | 59 | 8.9365 | 114.66 | 160.88
409 | 8 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 76.54 | 88.77 | 80 | 9.3485 | 116.85 | 165.31
410 | 8 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 83.22 | 97.63 | 97 | 14.0367 | 128.16 | 159.55
411 | 8 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 82.58 | 97.94 | 71 | 13.0716 | 131.86 | 164.95
412 | 8 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 93.1 | 112.31 | 93 | 22.8416 | 155.44 | 157.5
413 | 8 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 77.13 | 87.76 | 71 | 10.1674 | 112.07 | 160.78
414 | 8 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 95.66 | 116.99 | 120 | 24.8738 | 162.74 | 156.11
415 | 8 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 82.17 | 98.03 | 62 | 14.1705 | 134.01 | 162.79
416 | 8 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 93.84 | 114.52 | 99 | 23.2957 | 157.2 | 153.83
417 | 8 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 84.23 | 98.75 | 80 | 15.0546 | 132.57 | 162.41
418 | 8 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 100.94 | 126.41 | 104 | 27.9533 | 180.57 | 160.94
419 | 8 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 98.54 | 123.12 | 119 | 27.7869 | 177.84 | 161.33
420 | 8 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 109.58 | 140.14 | 137 | 37.2565 | 208.12 | 158.37
421 | 8 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 103.04 | 130.91 | 106 | 32.4517 | 189.73 | 153.63
422 | 8 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 87.44 | 106.66 | 75 | 19.0363 | 150.72 | 161.88
423 | 8 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 94.24 | 116.31 | 87 | 23.4615 | 163.93 | 164.31
424 | 8 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 113.4 | 149.35 | 124 | 42.5044 | 231.29 | 167.5
425 | 9 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 85.07 | 100.64 | 92 | 16.1495 | 135.94 | 161.22
426 | 9 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 75.33 | 87.18 | 61 | 9.3501 | 115.01 | 166.07
427 | 9 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 83.36 | 98.12 | 108 | 15.6948 | 130.85 | 159.75
428 | 9 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 77.66 | 87.05 | 47 | 8.4319 | 108.1 | 159.04
429 | 9 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 73.66 | 84.53 | 55 | 8.2736 | 108.97 | 164.05
430 | 9 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 84.26 | 100.79 | 57 | 15.0904 | 137.48 | 161.88
431 | 9 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 81.39 | 93.77 | 65 | 10.2026 | 120.01 | 160.33
432 | 9 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 89.27 | 107.2 | 107 | 18.8009 | 145.61 | 158.63
433 | 9 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 84.48 | 98.66 | 102 | 12.8146 | 127.83 | 159.32
434 | 9 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 80.53 | 92.72 | 75 | 10.5908 | 119.37 | 159.87
435 | 9 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 88.82 | 108.35 | 75 | 21.2979 | 154.18 | 162.91
436 | 9 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 80.64 | 94.43 | 96 | 11.7552 | 123.93 | 161.9
437 | 9 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 83.41 | 95.84 | 89 | 12.0763 | 123.2 | 160.11
438 | 9 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 71.1 | 80.57 | 59 | 7.2375 | 102.68 | 163.83
439 | 9 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 80.64 | 91.43 | 75 | 10.7098 | 117 | 160.6
440 | 9 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 79.84 | 91.64 | 81 | 9.7376 | 116.69 | 161.41
441 | 9 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 90.01 | 108.51 | 110 | 19.8448 | 149.81 | 159.56
442 | 9 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 83.61 | 98.82 | 77 | 15.5333 | 133.69 | 161.71
443 | 9 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 75.25 | 85.96 | 67 | 7.3635 | 107.38 | 161.8
444 | 9 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 81.47 | 95.77 | 87 | 13.5952 | 128.46 | 162.83
445 | 9 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 85.26 | 100.93 | 99 | 14.2813 | 133.39 | 161.38
446 | 9 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 84.68 | 99.52 | 77 | 16.3422 | 132.93 | 162.43
447 | 9 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 80.21 | 94.9 | 76 | 12.2427 | 127.33 | 164.25
448 | 9 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 81.94 | 97.47 | 58 | 15.7472 | 133.15 | 163.22
449 | 9 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 76.06 | 86.96 | 70 | 9.6223 | 111.67 | 162.84
450 | 9 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 85.22 | 100.16 | 81 | 18.4909 | 136.54 | 160.84
451 | 9 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 73.52 | 83.27 | 45 | 6.7789 | 105 | 164.51
452 | 9 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 96.11 | 117.84 | 117 | 23.7398 | 165.94 | 165.78
453 | 9 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 87.31 | 106.55 | 82 | 18.0065 | 150.65 | 166.65
454 | 9 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 73.87 | 84.21 | 43 | 5.816 | 104.69 | 161.5
455 | 9 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 75.96 | 87.5 | 66 | 7.1187 | 110.48 | 163.38
456 | 9 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 92.45 | 115.01 | 93 | 24.2143 | 165.41 | 163.01
457 | 9 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 69.24 | 77.69 | 33 | 2.9964 | 93.9 | 162.53
458 | 9 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 97.88 | 123.4 | 119 | 27.6099 | 175.87 | 158.4
459 | 9 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 80.71 | 94.78 | 75 | 12.4281 | 126.36 | 162.07
460 | 9 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 85.23 | 102.15 | 81 | 14.9277 | 136.68 | 163.8
461 | 9 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 80.33 | 94.38 | 73 | 12.9141 | 125.61 | 160.4
462 | 9 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 72.92 | 82.83 | 63 | 5.4642 | 104.49 | 165.49
463 | 9 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 82.37 | 96.99 | 75 | 13.6308 | 127.61 | 161.27
464 | 9 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 79.37 | 92.62 | 92 | 9.9829 | 120.73 | 164.67
465 | 9 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 82.07 | 94.98 | 77 | 11.7529 | 121.52 | 158.48
466 | 9 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 73.27 | 82.79 | 47 | 6.3047 | 103.28 | 161.39
467 | 9 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 99.74 | 124.69 | 104 | 29.2001 | 179.04 | 159.19
468 | 9 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 85.37 | 103.36 | 63 | 17.4875 | 143.14 | 160.95
469 | 9 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 80.26 | 94.38 | 66 | 10.2801 | 122.36 | 159.78
470 | 9 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 87.27 | 105.13 | 81 | 18.2649 | 146.03 | 162.9
471 | 9 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 96.12 | 117.79 | 94 | 23.7841 | 163.13 | 157.61
472 | 9 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 95.85 | 117.7 | 129 | 25.2523 | 166.35 | 160.02
473 | 9 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 106.76 | 135.3 | 133 | 34.8682 | 196.66 | 157.99
474 | 9 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 84.33 | 100.71 | 91 | 13.8915 | 133.73 | 159.01
475 | 9 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 75.82 | 87.37 | 69 | 7.4304 | 110.9 | 162.09
476 | 9 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 91.49 | 111.32 | 85 | 21.411 | 154.41 | 162.31
477 | 9 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 105.59 | 136.43 | 120 | 34.7908 | 205.19 | 164.2
478 | 10 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 84.75 | 99.49 | 104 | 15.9984 | 132.86 | 160.69
479 | 10 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 82.43 | 95.13 | 91 | 16.5236 | 127.23 | 160.96
480 | 10 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 102.95 | 124.28 | 119 | 34.7608 | 176.56 | 152.42
481 | 10 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 75.16 | 83.76 | 45 | 5.9863 | 101.63 | 158.86
482 | 10 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 85.39 | 99.94 | 86 | 19.1602 | 136.95 | 161.98
483 | 10 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 96.48 | 116.19 | 99 | 26.9208 | 165.09 | 160.68
484 | 10 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 92.2 | 106.11 | 94 | 21.0554 | 139.44 | 154.11
485 | 10 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 91.28 | 109.23 | 115 | 20.363 | 148.58 | 159.36
486 | 10 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 100.96 | 119.51 | 135 | 29.3802 | 163.1 | 151.53
487 | 10 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 90.6 | 105.97 | 81 | 20.6703 | 142.97 | 155.86
488 | 10 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 92.08 | 111.39 | 81 | 24.1504 | 157.15 | 159.71
489 | 10 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 87.67 | 102.59 | 95 | 18.8446 | 138.64 | 161.27
490 | 10 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 109.63 | 132.55 | 126 | 38.159 | 189.78 | 154.33
491 | 10 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 77.78 | 89.02 | 73 | 13.6058 | 115.83 | 158.39
492 | 10 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 98.06 | 113.91 | 100 | 27.9022 | 155.18 | 153.8
493 | 10 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 87.74 | 104.44 | 87 | 17.962 | 140.03 | 160.65
494 | 10 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 103.61 | 127.83 | 108 | 33.5489 | 186.68 | 160.97
495 | 10 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 87.48 | 101.79 | 71 | 19.7781 | 136.58 | 157.03
496 | 10 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 83.11 | 96.48 | 74 | 14.9211 | 126.7 | 158.76
497 | 10 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 90.5 | 109.34 | 94 | 22.575 | 154.61 | 161.89
498 | 10 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 95.88 | 114.89 | 100 | 25.0037 | 156.84 | 156.51
499 | 10 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 79.25 | 90.7 | 73 | 11.0415 | 115.13 | 159.99
500 | 10 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 83.31 | 96.25 | 69 | 15.2055 | 125.89 | 158.09
501 | 10 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 77.21 | 88.68 | 58 | 11.0575 | 112.49 | 157.17
502 | 10 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 85 | 98.84 | 71 | 18.5244 | 131.8 | 159.92
503 | 10 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 81.88 | 94.81 | 71 | 15.468 | 125.59 | 159.62
504 | 10 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 77.48 | 87.86 | 59 | 10.0678 | 111.34 | 161.11
505 | 10 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 107.09 | 131.49 | 131 | 34.4342 | 187.74 | 160.51
506 | 10 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 90.39 | 110.72 | 100 | 21.1637 | 158.2 | 166.16
507 | 10 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 73.6 | 83.28 | 55 | 5.3865 | 102.96 | 162.52
508 | 10 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 88.32 | 104.66 | 92 | 19.1333 | 141.94 | 160.28
509 | 10 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 95.72 | 117.4 | 113 | 27.507 | 168.03 | 159.28
510 | 10 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 79.13 | 90.06 | 69 | 12.504 | 114.04 | 155.52
511 | 10 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 96.01 | 117.75 | 107 | 25.8291 | 165.76 | 160.16
512 | 10 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 89.65 | 107.07 | 89 | 21.5741 | 149.4 | 161.59
513 | 10 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 83.96 | 99.51 | 89 | 13.3364 | 131 | 163.82
514 | 10 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 84.75 | 101.27 | 71 | 16.9099 | 139.34 | 159.49
515 | 10 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 84.36 | 98.58 | 97 | 16.9617 | 134.5 | 163.75
516 | 10 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 83.24 | 96.78 | 87 | 13.9896 | 125.86 | 158.63
517 | 10 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 94.1 | 114.23 | 88 | 25.1213 | 163.63 | 163.71
518 | 10 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 97.86 | 116.85 | 99 | 27.339 | 161.33 | 156.14
519 | 10 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 84.73 | 98.11 | 76 | 17.7777 | 130.12 | 157.63
520 | 10 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 109.13 | 136.62 | 122 | 38.4801 | 201.3 | 157.57
521 | 10 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 89.16 | 106.01 | 86 | 21.3423 | 144.9 | 155.71
522 | 10 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 89.41 | 106.27 | 87 | 19.0761 | 142.33 | 155.99
523 | 10 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 94.18 | 112.79 | 91 | 25.1114 | 156.33 | 158.09
524 | 10 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 104.94 | 129.84 | 115 | 31.9361 | 183.01 | 154.34
525 | 10 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 110.31 | 140.17 | 115 | 39.6822 | 209.32 | 156.82
526 | 10 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 114.58 | 147.06 | 153 | 42.7539 | 219.85 | 155.93
527 | 10 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 87.99 | 105.01 | 102 | 17.7359 | 140.89 | 157.21
528 | 10 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 87.48 | 104.31 | 71 | 19.2971 | 141.89 | 157.21
529 | 10 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 95.23 | 115.69 | 111 | 24.429 | 160.07 | 158.74
530 | 10 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 108.09 | 139.08 | 128 | 37.2986 | 209.27 | 161.48
531 | 11 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 82.64 | 97.39 | 93 | 13.9159 | 130.25 | 163.37
532 | 11 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 77.85 | 90.12 | 87 | 11.2454 | 119.66 | 165.25
533 | 11 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 82.48 | 97.28 | 97 | 14.4214 | 129.49 | 160.59
534 | 11 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 71.75 | 79.17 | 34 | 2.804 | 93.93 | 160.17
535 | 11 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 83.19 | 97.69 | 80 | 16.94 | 132.99 | 163.77
536 | 11 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 85.55 | 101.91 | 75 | 16.03 | 136.48 | 159.93
537 | 11 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 86.79 | 101.57 | 81 | 15.3438 | 133.93 | 160.05
538 | 11 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 87.75 | 104.56 | 111 | 16.9967 | 142.23 | 161.24
539 | 11 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 94.94 | 112.49 | 109 | 23.1568 | 151.98 | 155.79
540 | 11 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 80.36 | 93.35 | 73 | 11.1496 | 120.42 | 156.23
541 | 11 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 85.43 | 103.04 | 74 | 18.0405 | 144.24 | 162.95
542 | 11 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 85.94 | 100.71 | 77 | 17.187 | 133.89 | 157.38
543 | 11 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 94.21 | 112.32 | 101 | 23.2165 | 154.42 | 156.95
544 | 11 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 73.09 | 83.35 | 61 | 8.7476 | 106.59 | 162.37
545 | 11 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 77.96 | 88.12 | 63 | 7.9808 | 111.23 | 161.02
546 | 11 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 89.04 | 106.19 | 74 | 18.6653 | 143.33 | 161.61
547 | 11 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 88.9 | 106.15 | 107 | 18.5869 | 144.01 | 158.32
548 | 11 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 76.41 | 88.38 | 73 | 8.823 | 113.8 | 161.37
549 | 11 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 76.9 | 88.93 | 71 | 8.6311 | 112.69 | 161.24
550 | 11 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 84.26 | 100.21 | 93 | 16.5821 | 136.36 | 162.03
551 | 11 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 89.69 | 107.99 | 96 | 18.56 | 146.92 | 161.39
552 | 11 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 78.96 | 91.54 | 64 | 11.0578 | 118.18 | 161.28
553 | 11 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 80.78 | 94.68 | 70 | 12.3869 | 125.51 | 164.09
554 | 11 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 77.88 | 91.55 | 49 | 11.5516 | 119.87 | 159.8
555 | 11 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 74.29 | 85.69 | 48 | 8.2276 | 111.32 | 164.7
556 | 11 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 81.27 | 94.82 | 79 | 14.3313 | 127.01 | 160.77
557 | 11 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 78.21 | 90.02 | 57 | 11.4647 | 118.47 | 164.56
558 | 11 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 101.41 | 124.7 | 109 | 29.4248 | 178.32 | 163.33
559 | 11 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 98.44 | 121.95 | 94 | 29.1165 | 180.26 | 166.28
560 | 11 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 75.62 | 87 | 45 | 7.3255 | 109.65 | 161.58
561 | 11 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 81.68 | 96.1 | 84 | 12.2951 | 127.36 | 164.01
562 | 11 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 91.43 | 113.18 | 102 | 23.6476 | 161.29 | 161.73
563 | 11 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 71.04 | 80.33 | 43 | 4.4007 | 98.89 | 162.13
564 | 11 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 97.4 | 121.2 | 119 | 26.6568 | 171.71 | 157.96
565 | 11 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 85.15 | 100.93 | 75 | 16.7898 | 136.75 | 160.51
566 | 11 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 87.51 | 105.05 | 84 | 16.6896 | 143.14 | 165.78
567 | 11 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 79.73 | 92.94 | 68 | 12.1182 | 121.84 | 160.72
568 | 11 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 84.72 | 101.01 | 96 | 17.201 | 141.51 | 165.56
569 | 11 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 86.93 | 102.69 | 104 | 17.5694 | 137.65 | 159.46
570 | 11 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 81.57 | 96.68 | 77 | 12.5826 | 129.82 | 164.23
571 | 11 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 87.55 | 103.85 | 84 | 17.5104 | 137.73 | 154.88
572 | 11 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 81.07 | 93.09 | 71 | 14.1716 | 121.3 | 158.42
573 | 11 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 99.17 | 124.23 | 113 | 28.6409 | 178.9 | 158.1
574 | 11 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 84.21 | 100.35 | 90 | 16.2086 | 135.48 | 159.14
575 | 11 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 89.35 | 108.33 | 93 | 19.0825 | 146.85 | 156.2
576 | 11 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 87.2 | 103.24 | 79 | 18.3235 | 140.69 | 162.02
577 | 11 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 95.66 | 117.13 | 121 | 22.8202 | 160.24 | 158.6
578 | 11 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 112.39 | 144.62 | 107 | 41.771 | 215.94 | 155.12
579 | 11 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 117.02 | 150.26 | 135 | 44.7388 | 225.03 | 155.28
580 | 11 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 92.03 | 112.88 | 92 | 21.5979 | 154.53 | 155.63
581 | 11 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 78.27 | 90.85 | 74 | 9.8366 | 117.09 | 159.86
582 | 11 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 81.1 | 95.46 | 85 | 10.7324 | 125.05 | 163.89
583 | 11 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 107.29 | 136.87 | 121 | 36.3703 | 206.5 | 165.14